Note:  Questionnaire sections that did not require a response have been omitted to make this document more concise.

| # Background Information |  |  |  |
| --- | --- | --- | --- |
| # 1) Name of the Facility. |  | Arkansas River Dam No. 2 Hydropower Project (FERC 3033) |  |
| # 2) Applicant’s name, contact information and relationship to the Facility. If the Applicant is not the Facility owner/operator, also provide the name and contact information for the Facility owner and operator. |  | # Arkansas Electric Cooperative Corporation # (Owner & Operator) 1 Cooperative Way, Little Rock, AR 72209 Curtis Warner, Principal Engineer Environment and Power Supply Department cwarner@aecc.com (501) 570-2462 |  |
| # 3) Location of Facility by river and state. |  | # Navigation mile 19, Arkansas River, Arkansas and Desha Counties, Arkansas |  |
| # 4) Installed capacity. |  | # 108,000 kW at unity power factor (102,600 kW at 95% power factor) |  |
| # 5) Average annual generation. |  | # 351GWh |  |
| # 6) Regulatory status. |  | # FERC License No. 3033, issued August 10, 1983, effective through July 31, 2033 (50 year license) U.S. Army Corps of Engineers Clean Water Act Sec. 404 Permit No. 11573 issued 1994. See Attachment B – Supplement for additional background information. |  |
| # 7) Reservoir volume and surface area measured at the high water mark in an average water year. |  | # From the FERC license: “Dam No. 2 creates a reservoir with a normal surface area of 10,560 acres at 162 feet msl.” At an estimated average depth of 12 feet, the volume would be 127,000 acre-feet. |  |
| # 8) Area occupied by non-reservoir facilities (e.g., dam, penstocks, powerhouse). |  | # Approximately 40 acres, including dam, powerhouse, intake channel, switching station, park facilities. |  |
| # 9) Number of acres inundated by the Facility. |  | # N/A; facility was incremental to an existing dam and does not control flows; see below. |  |
| # 10) Number of acres contained in a 200-foot zone extending around entire impoundment. |  | # Approximately 1,570 acres. |  |
| # 11) Please attach a list of contacts in the relevant Resource Agencies and in non-governmental organizations that have been involved in Recommending conditions for your Facility. |  | # See Attachment A – Contacts |  |
| # 12) Please attach a description of the Facility, its mode of operation (i.e., peaking/run of river) and a map of the Facility. |  | # See Attachment B – Background Information and Supplemental Answers |  |
| # Questions For “New” Facilities Only: # If the Facility you are applying for is “new” i.e., an existing dam that added or increased power generation capacity after August of 1998 please answer the following questions to determine eligibility for the program |  |  |  |
| # 13) When was the dam associated with the Facility completed? |  | # 1968 |  |
| # 14) When did the added or increased generation first generate electricity? If the added or increased generation is not yet operational, please answer question 18 as well. |  | # 1999 |  |
| # 15) Did the added or increased power generation capacity require or include any new dam or other diversion structure? |  | # No. |  |
| # 16) Did the added or increased capacity include or require a change in water flow through the facility that worsened conditions for fish, wildlife, or water quality, (for example, did operations change from run-of-river to peaking)? |  | # No. The facility remained run-of-river as dictated by the Corps of Engineers. See Attachment C – USFWS Letter. |  |
| # 17 (a) Was the existing dam recommended for removal or decommissioning by resource agencies, or recommended for removal or decommissioning by a broad representation of interested persons and organizations in the local and/or regional community prior to the added or increased capacity? # (b) If you answered “yes” to question 17(a), the Facility is not eligible for certification, unless you can show that the added or increased capacity resulted in specific measures to improve fish, wildlife, or water quality protection at the existing dam. If such measures were a result, please explain. |  | # No. See Attachment C – USFWS Letter. |  |
| ## A. Flows | # PASS |  | # FAIL |
| # Is the Facility in Compliance with Resource Agency Recommendations issued after December 31, 1986 regarding flow conditions for fish and wildlife protection, mitigation and enhancement (including in-stream flows, ramping and peaking rate conditions, and seasonal and episodic instream flow variations) for both the reach below the tailrace and all bypassed reaches? | # YES = Pass, Go to B # N/A = Go to A2 #### N/A |  | # NO = Fail |
| 2) If there is no flow condition recommended by any Resource Agency for the Facility, or if the recommendation was issued prior to January 1, 1987, is the Facility in Compliance with a flow release schedule, both below the tailrace and in all bypassed reaches, that at a minimum meets Aquatic Base Flow standards or “good” habitat flow standards calculated using the Montana-Tennant method? | # YES = Pass, go to B # NO = Go to A3 #### NO |  |  |
| ## 3) If the Facility is unable to meet the flow standards in A.2., has the Applicant demonstrated, and obtained a letter from the relevant Resource Agency confirming that demonstration, that the flow conditions at the Facility are appropriately protective of fish, wildlife, and water quality? | # YES = Pass, go to B YES. See Attachment C – USFWS Letter and Attachment D – AGCF Letter for letters from the U.S. Fish and Wildlife Service and Arkansas Game and Fish Commission, respectively confirming that the Facility is not a source of adverse impacts to fish, wildlife, or water quality. |  | # NO = Fail |
| # B. Water Quality | # PASS |  | # FAIL |
| # Is the Facility either: # In Compliance with all conditions issued pursuant to a Clean Water Act Section 401 water quality certification issued for the Facility after December 31, 1986? Or # In Compliance with the quantitative water quality standards established by the state that support designated uses pursuant to the federal Clean Water Act in the Facility area and in the downstream reach? | # YES = Go to B2 # YES. See Attachment E – ADEQ Confirmation for a 2008 email from the Arkansas Department of Environmental Quality confirming that the “project’s operations remain consistent with the State of Arkansas’ water quality criteria…” See also Attachment F and Attachment G for copies of CWA Section 401 water quality certifications issued by the state in 1994 and 1981. |  | # NO = Fail |
| # 2) Is the Facility area or the downstream reach currently identified by the state as not meeting water quality standards (including narrative and numeric criteria and designated uses) pursuant to Section 303(d) of the Clean Water Act? | # YES = Go to B3 # NO = Pass # NO. See Attachment E – ADEQ Confirmation. |  |  |
| # C. Fish Passage and Protection | # PASS |  | # FAIL |
| # Is the Facility in Compliance with Mandatory Fish Passage Prescriptions for upstream and downstream passage of anadromous and catadromous fish issued by Resource Agencies after December 31, 1986? | # YES = Go to C5 # N/A = Go to C2 N/A. |  | # NO = Fail |
| # Are there historic records of anadromous and/or catadromous fish movement through the Facility area, but anadromous and/or catadromous fish do not presently move through the Facility area (e.g., because passage is blocked at a downstream dam or the fish run is extinct)? | # YES = Go to C2a # NO = Go to C3 # NO. See Attachment B – Supplemental Information. |  |  |
| # 3) If, since December 31, 1986: # a) Resource Agencies have had the opportunity to issue, and considered issuing, a Mandatory Fish Passage Prescription for upstream and/or downstream passage of anadromous or catadromous fish (including delayed installation as described in C2a above), and # b) The Resource Agencies declined to issue a Mandatory Fish Passage Prescription, # c) Was a reason for the Resource Agencies’ declining to issue a Mandatory Fish Passage Prescription one of the following: (1) the technological infeasibility of passage, (2) the absence of habitat upstream of the Facility due at least in part to inundation by the Facility impoundment, or (3) the anadromous or catadromous fish are no longer present in the Facility area and/or downstream reach due in whole or part to the presence of the Facility? | # NO = Go to C5 # N/A = Go to C4 # NO. See Attachment C – USFWS Letter and Attachment D – AGCF Letter for letters from the U.S. Fish and Wildlife Service and Arkansas Game and Fish Commission. |  | # YES = Fail |
| # 5) Is the Facility in Compliance with Mandatory Fish Passage Prescriptions for upstream and/or downstream passage of Riverine fish? | # YES = Go to C6 N/A = Go to C6 ##### N/A. Resource agencies did not recommend passage for riverine fish. See Attachment C – USFWS Letter and Attachment D – AGCF Letter for letters from the U.S. Fish and Wildlife Service and Arkansas Game and Fish Commission. |  | # NO = Fail |
| # 6) Is the Facility in Compliance with Resource Agency Recommendations for Riverine, anadromous and catadromous fish entrainment protection, such as tailrace barriers? | # YES = Pass, go to D # N/A = Pass, go to D #### N/A. Resource agencies did not recommend entrainment protection for fish. See Attachment C – USFWS Letter and Attachment D – AGCF Letter for letters from the U.S. Fish and Wildlife Service and Arkansas Game and Fish Commission. |  | # NO = Fail |
| # D. Watershed Protection | # PASS |  | # FAIL |
| 1 ) Is there a buffer zone dedicated for conservation purposes (to protect fish and wildlife habitat, water quality, aesthetics and/or low-impact recreation) extending 200 feet from the high water mark in an average water year around 50 - 100% of the impoundment, and for all of the undeveloped shoreline | # YES = Pass, go to E and receive 3 extra years of certification NO. |  | # NO = go to D2 |
| 2 ) Has the facility owner/operator established an approved watershed enhancement fund that: 1) could achieve within the project’s watershed the ecological and recreational equivalent of land protection in D.1.,and 2) has the agreement of appropriate stakeholders and state and federal resource agencies? | # YES = Pass, go to E and receive 3 extra years of certification NO. |  | NO = go to D3 |
| 3 ) Has the facility owner/operator established through a settlement agreement with appropriate stakeholders and that has state and federal resource agencies agreement an appropriate shoreland buffer or equivalent watershed land protection plan for conservation purposes (to protect fish and wildlife habitat, water quality, aesthetics and/or low impact recreation) | # YES = Pass, go to E NO. |  | # NO = go to D4 |
| 4 ) Is the facility in compliance with both state and federal resource agencies recommendations in a license approved shoreland management plan regarding protection, mitigation or enhancement of shorelands surrounding the project. | # YES = Pass, go to E YES. Resource agencies did not issue such recommendations, nor was the project required to prepare a shoreland management plan. |  | # No = Fail |
| # E. Threatened and Endangered Species Protection | # PASS |  | # FAIL |
| # Are threatened or endangered species listed under state or federal Endangered Species Acts present in the Facility area and/or downstream reach? | YES = Go to E2 NO = Pass, go to F ###### YES. See Attachment C – USFWS Letter and Attachment B – Supplemental Information. |  |  |
| # 2) If a recovery plan has been adopted for the threatened or endangered species pursuant to Section 4(f) of the Endangered Species Act or similar state provision, is the Facility in Compliance with all recommendations in the plan relevant to the Facility? | YES = Go to E3 N/A = Go to E3 N/A. See Attachment C – USFWS Letter and Attachment B – Supplemental Information. |  | NO = Fail |
| # 3) If the Facility has received authority to incidentally Take a listed species through: (i) Having a relevant agency complete consultation pursuant to ESA Section 7 resulting in a biological opinion, a habitat recovery plan, and/or (if needed) an incidental Take statement; (ii) Obtaining an incidental Take permit pursuant to ESA Section 10; or (iii) For species listed by a state and not by the federal government, obtaining authority pursuant to similar state procedures; is the Facility in Compliance with conditions pursuant to that authority? | YES = Go to E4 N/A = Go to E5 #### N/A |  | NO = Fail |
| # 5) If E.2. and E.3. are not applicable, has the Applicant demonstrated that the Facility and Facility operations do not negatively affect listed species? | # YES = Pass, go to F YES. See Attachment C – USFWS Letter and Attachment D – AGCF Letter for letters from the U.S. Fish and Wildlife Service and Arkansas Game and Fish Commission. |  | # NO = Fail |
| # F. Cultural Resource Protection | # PASS |  | # FAIL |
| # If FERC-regulated, is the Facility in Compliance with all requirements regarding Cultural Resource protection, mitigation or enhancement included in the FERC license or exemption? | # YES = Pass, go to G # N/A = Go to F2 #### YES. See Attachment H – SHPO Letter for a letter from the state historic preservation officer. See Attachment J - FERC Application for additional background information. |  | # NO = Fail |
| # G. Recreation | # PASS |  | # FAIL |
| # If FERC-regulated, is the Facility in Compliance with the recreational access, accommodation (including recreational flow releases) and facilities conditions in its FERC license or exemption? | # YES = Go to G3 # N/A = Go to G2 #### YES. See Attachment I – Recreation for a letter from the Army Corps of Engineers confirming compliance with recreation-related requirements of the FERC license and Corps permit. See Attachment J - FERC Application for additional background information. |  | # NO = Fail |
| # Does the Facility allow access to the reservoir and downstream reaches without fees or charges? | # YES = Pass, go to H #### YES. |  | # NO = Fail |
| # Facilities Recommended for Removal | # PASS |  | # FAIL |
| # Is there a Resource Agency Recommendation for removal of the dam associated with the Facility? | # NO = Pass, Facility is Low Impact #### NO. |  | # YES = Fail |