LIHI CERTIFICATION HANDBOOK

-- PART VII --

# CERTIFICATION QUESTIONNAIRE

**  PLEASE SUBMIT THIS QUESTIONNAIRE IN WORD FORMAT **

| # Background Information |  |  |
| --- | --- | --- |
| # 1) Name of the Facility as used in the FERC License/exemption. | # Beaver River Project (FERC No. 2645) Elmer Development |  |
| # 2) Applicant’s name, contact information and relationship to the Facility. If the Applicant is not the Facility owner/operator, also provide the name and contact information for the Facility owner and operator. | - Mr. Steven P. Murphy - Compliance Specialist - Erie Boulevard Hydropower, L.P. - 33 West 1st Street South - Fulton, NY 13069 |  |
| # 3) Location of Facility including (a) the state in which Facility is located; (b) the river on which Facility is located; (c) the river-mile location of the Facility dam; (d) the river’s drainage area in square miles at the Facility intake; (e) the location of other dams on the same river upstream and downstream of the Facility; and (f) the exact latitude and longitude of the Facility dam. | - NY - Beaver River - Elmer Development – 16.2 RM - Elmer Development – 250 sq. miles - A description of the Elmer Development, as well as dams upstream and downstream of the Facility is included in Attachment A. A map showing Facilities located on the Beaver River is also included in Attachment A. - Elmer Development – Latitude: 43.9267 Longitude: -75.2889 |  |
| # 4) Installed capacity. | - Beaver River Project: - Moshier Development: 8.0 MW - Eagle Development: 6.0 MW - Soft Maple Development: 15.0 MW - Effley Development: 3.0 MW - Elmer Development: 1.5 MW - Taylorville Development: 4.6 MW - Belfort Development: 2.0 MW - High Falls Development: 4.7 MW # Total installed capacity: 44.8 MW |  |
| # 5) Average annual generation. | - Beaver River Project: - Moshier Development: 33.1 GWh - Eagle Development: 29.7 GWh - Soft Maple Development: 31.9 GWh - Effley Development: 13.7 GWh - Elmer Development: 10.0 GWh - Taylorville Development: 21.7 GWh - Belfort Development: 10.4 GWh - High Falls Development: 26.8 GWh # Average Annual Generation: 177.3 GWh |  |
| # 6) Regulatory status. | - FERC Project No. 2645. - The Beaver River Settlement Offer dated, February 7, 1995 was filed with FERC May 30, 1995 (Attachment B). - The Settlement Offer was amended on March 8, 1995 and May 19, 1995 - The Section 401 Water Quality Certificate (WQC) was issued by the New York State Department of Environmental Conservation (NYSDEC) on 8/24/1995 (Attachment B) and adopted into the FERC License. - FERC License issued: 8/2/1996 (Attachment B) - FERC License expires: 7/31/2026 |  |
| # 7) Reservoir volume and surface area measured at the normal maximum operating level. | Elmer Development: 345.0 acre-feet; 34 acres |  |
| # 8) Area occupied by non-reservoir facilities (e.g., dam, penstocks, powerhouse). | Elmer Development: 0.2 acres |  |
| # 9) Number of acres inundated by the Facility. | Elmer Development: 34 acres |  |
| # 10) Number of acres contained in a 200-foot zone extending around entire reservoir. | # Elmer Development: 36.1 acres # (see map in Attachment C). |  |
| # 11) Contacts for Resource Agencies and non-governmental organizations | # A list of key resource agencies and NGOs involved in the relicensing proceedings and the Settlement Offer is included in Attachment D. |  |
| # 12) Description of the Facility, its mode of operation (i.e., peaking/run of river) and photographs, maps and diagrams. | The eight hydropower dams and powerhouses that comprise the Beaver River Project are located in the Towns of Croghan and Watson in Lewis County and in the Town of Webb in Herkimer County, New York. Progressing downstream these are the Moshier (RM 29.9), Eagle (RM 23.0), Soft Maple (RM 21.0), Effley (RM 16.9), Elmer (RM 16.2), Taylorville (RM 14.8), Belfort (RM 13.5) and High Falls (RM 11.0) Developments. The Developments are operated in a coordinated manner as store-and-release facilities primarily to meet peak demand. - A map of the Beaver River Project Developments and description (including photographs) of the Project and operations is included in Attachment A, and Exhibit F and G project drawings are included in Attachment E. |  |
| # Questions for “New” Facilities Only: # If the Facility you are applying for is “new” (i.e., an existing dam that added or increased power generation capacity after August of 1998) please answer the following questions to determine eligibility for the program | # N/A - No power generation capacity was added to the Beaver River Project after August 1998. The Beaver River Project is not considered a “new” facility for the purposes of this application. |  |
| # 13) When was the dam associated with the Facility completed? | # N/A |  |
| # 14) When did the added or increased generation first generate electricity? If the added or increased generation is not yet operational, please answer question 18 as well. | # N/A |  |
| # 15) Did the added or increased power generation capacity require or include any new dam or other diversion structure? | # N/A |  |
| # 16) Did the added or increased capacity include or require a change in water flow through the facility that worsened conditions for fish, wildlife, or water quality (for example, did operations change from run-of-river to peaking)? | # N/A |  |
| # 17 (a) Was the existing dam recommended for removal or decommissioning by resource agencies, or recommended for removal or decommissioning by a broad representation of interested persons and organizations in the local and/or regional community prior to the added or increased capacity? # (b) If you answered “yes” to question 17(a), the Facility is not eligible for certification, unless you can show that the added or increased capacity resulted in specific measures to improve fish, wildlife, or water quality protection at the existing dam. If such measures were a result, please explain. | # N/A |  |
| # 18 (a) If the added or increased generation is not yet operational, has the increased or added generation received regulatory authorization (e.g., approval by the Federal Energy Regulatory Commission)? If not, the facility is not eligible for consideration; and # (b) Are there any pending appeals or litigation regarding that authorization? If so, the facility is not eligible for consideration. | # N/A |  |
| ## A. Flows | # PASS | # FAIL |
| # Is the Facility in Compliance with Resource Agency Recommendations issued after December 31, 1986 regarding flow conditions for fish and wildlife protection, mitigation and enhancement (including in-stream flows, ramping and peaking rate conditions, and seasonal and episodic instream flow variations) for both the reach below the tailrace and all bypassed reaches? | # YES = Pass, Go to B # N/A = Go to A2 - Yes - The Beaver River Project is in compliance with resource agency recommendations issued after December 31, 1986 regarding flow conditions. - The 1996 FERC License, 1995 Settlement Offer, and 1995 Section 401 Water Quality Certificate (WQC) include the requirements for flow releases and water level control recommended by the NYSDEC and U.S. Fish and Wildlife Service (USFWS). - Each year the licensee files documentation with FERC confirming compliance with flow and impoundment level conditions. A copy of this filing for 2012 is included in Attachment F. - For construction and maintenance activities that require lowering the level of an impoundment below the normal operating limits, Erie’s Hydro Operating Procedure (HOP 202) requires notification of NYSDEC and compliance with drawdown rates specified in the 401 WQC (1 ft/hr) (Attachment F). - All of the license and settlement requirements pertaining to flow conditions and impoundment levels have been implemented at the Beaver River Project. The method of release and time of implementation are also established in the settlement as recommended by the resource agencies and others. - Elmer Development - Maximum daily reservoir fluctuations under normal flow conditions: 1.0 foot year-round. - Flashboard installation: There are no flashboards at this facility. - Baseflow: None specified in license or settlement. - Minimum (bypass) flows: 20 cfs year-round. | NO = FAIL |
| 2) If there is no flow condition recommended by any Resource Agency for the Facility, or if the recommendation was issued prior to January 1, 1987, is the Facility in Compliance with a flow release schedule, both below the tailrace and in all bypassed reaches, that at a minimum meets Aquatic Base Flow standards or “good” habitat flow standards calculated using the Montana-Tennant method? | # YES = Pass, go to B # NO = Go to A3 N/A |  |
| ## 3) If the Facility is unable to meet the flow standards in A.2., has the Applicant demonstrated, and obtained a letter from the relevant Resource Agency confirming that demonstration, that the flow conditions at the Facility are appropriately protective of fish, wildlife, and water quality? | # YES = Pass, go to B N/A | # NO = Fail |
| # B. Water Quality | # PASS | # FAIL |
| # Is the Facility either: # In Compliance with all conditions issued pursuant to a Clean Water Act Section 401 water quality certification issued for the Facility after December 31, 1986? Or # In Compliance with the quantitative water quality standards established by the state that support designated uses pursuant to the federal Clean Water Act in the Facility area and in the downstream reach? | # YES = Go to B2 - Yes – (a) The Beaver River Project is in compliance with all conditions of the Clean Water Act Section 401 WQC issued after December 31, 1986. The WQC (issued August 24, 1995) is included in Attachment B. # (b) The WQC for the Beaver River Project includes and incorporates the 1995 Settlement Offer and is conditioned on compliance with the terms of the settlement. | # NO = Fail |
| # 2) Is the Facility area or the downstream reach currently identified by the state as not meeting water quality standards (including narrative and numeric criteria and designated uses) pursuant to Section 303(d) of the Clean Water Act? | # YES = Go to B3 # NO = Pass - No - According to the Final New York State 2012 Section 303(d) List of Impaired Waters, the Beaver River is not considered impaired. - http://www.dec.ny.gov/chemical/31290.html |  |
| # 3) If the answer to question B.2 is yes, has there been a determination that the Facility does not cause, or contribute to, the violation? | # YES = Pass - N/A | # NO = Fail |
| # C. Fish Passage and Protection | # PASS | # FAIL |
| # Is the Facility in Compliance with Mandatory Fish Passage Prescriptions for upstream and downstream passage of anadromous and catadromous fish issued by Resource Agencies after December 31, 1986? | # YES = Go to C5 # N/A = Go to C2 Yes – Article 405 of the 1996 FERC License incorporates the requirements of the 1995 Settlement Offer for downstream fish passage at the Elmer Development. Article 405 of the FERC License requires the licensee to release from the Elmer Development into the bypassed reach a year-round minimum flow of 20 cubic feet per second (cfs) through a release structure constructed in the needle beam structure in the middle of the spillway. On April 29, 1997 the licensee submitted to FERC the final plans for the Article 405 flow release structure in support of downstream fish passage, which was approved by FERC on July 21, 1997 (see Attachment G). The 1995 Settlement Offer indicated that upstream fish passage was not required at that time. During the relicensing proceeding for the Beaver River Project, neither the Department of Commerce nor the Department of Interior (Interior) prescribed anadromous or catadromous fish passage facilities for the Project. Interior did, however, by letter dated July 13, 1995, request reservation of its authority to prescribe upstream and downstream fish passage devices in the future, which is provided in Article 414 of the 1996 License. | # NO = Fail |
| # Are there historic records of anadromous and/or catadromous fish movement through the Facility area, but anadromous and/or catadromous fish do not presently move through the Facility area (e.g., because passage is blocked at a downstream dam or the fish no longer have a migratory run)? # If the fish are extinct or extirpated from the Facility area or downstream reach, has the Applicant demonstrated that the extinction or extirpation was not due in whole or part to the Facility? - If a Resource Agency Recommended adoption of upstream and/or downstream fish passage measures at a specific future date, or when a triggering event occurs (such as completion of passage through a downstream obstruction or the completion of a specified process), has the Facility owner/operator made a legally enforceable commitment to provide such passage? | # YES = Go to C2a # NO = Go to C3 # No – There are numerous natural barriers that preclude upstream migration. # YES = Go to C2b # N/A = Go to C2b N/A # YES = Go to C5 # N/A = Go to C3 N/A | # NO = Fail # NO = Fail |
| # 3) If, since December 31, 1986: # a) Resource Agencies have had the opportunity to issue, and considered issuing, a Mandatory Fish Passage Prescription for upstream and/or downstream passage of anadromous or catadromous fish (including delayed installation as described in C2a above), and # b) The Resource Agencies declined to issue a Mandatory Fish Passage Prescription, # c) Was a reason for the Resource Agencies’ declining to issue a Mandatory Fish Passage Prescription one of the following: (1) the technological infeasibility of passage, (2) the absence of habitat upstream of the Facility due at least in part to inundation by the Facility impoundment, or (3) the anadromous or catadromous fish are no longer present in the Facility area and/or downstream reach due in whole or part to the presence of the Facility? | # NO = Go to C5 # N/A = Go to C4 - No - the agencies had the opportunity to issue and considered issuing fish passage prescriptions, but did not do so because the project area is outside the expected range of anadromous or catadromous species (natural barriers downstream) and the riverine fisheries resources would not significantly benefit from fishways. Because management objectives for the Beaver River are subject to change over the life of the project, the Interior has reserved Section 18 authority in License Article 414. | # YES = Fail |
| # 4) If C3 was not applicable: # Are upstream and downstream fish passage survival rates for anadromous and catadromous fish at the dam each documented at greater than 95% over 80% of the run using a generally accepted monitoring methodology? Or # If the Facility is unable to meet the fish passage standards in 4.a, has the Applicant either i) demonstrated, and obtained a letter from the U.S. Fish and Wildlife Service or National Marine Fisheries Service confirming that demonstration, that the upstream and downstream fish passage measures (if any) at the Facility are appropriately protective of the fishery resource, or ii) committed to the provision of fish passage measures in the future and obtained a letter from the U.S. Fish and Wildlife Service or the National Marine Fisheries Service indicating that passage measures are not currently warranted? | # YES = Go to C5 N/A | # NO = Fail |
| # 5) Is the Facility in Compliance with Mandatory Fish Passage Prescriptions for upstream and/or downstream passage of Riverine fish? | # YES = Go to C6 N/A = Go to C6 - N/A– During the relicensing proceeding for the Beaver River Project neither the Department of Commerce nor Interior prescribed riverine fish passage facilities for the Project. Interior did, however, request reservation of its authority to prescribe upstream and downstream fish passage devices in the future, which is provided in Article 414 of the 1996 License. - As agreed in the 1995 Settlement Offer, downstream passage for riverine fish (yellow perch, rock bass, white sucker, brown bullhead and pumpkinseed) is assisted by minimum flows and release structures at all but the Soft Maple facility. At Soft Maple, the agencies did not want to encourage passage of reservoir warmwater fish to the coldwater habitat of the bypassed reach, and so no downstream passage enhancements were provided at this facility. | # NO = Fail |
| # 6) Is the Facility in Compliance with Resource Agency Recommendations for Riverine, anadromous and catadromous fish entrainment protection, such as tailrace barriers? | # YES = Pass, go to D # N/A = Pass, go to D - Yes – Agency recommendations for fish entrainment protection at the Beaver River Project are included the 1995 Settlement Offer and Article 413 of the 1996 License. To exclude adult fish from being entrained through the turbines, the existing trashracks have been replaced at each of the Beaver River developments with trashracks with 1-inch clear bar spacing. In addition, to prevent the passage of warmwater fish below the Soft Maple facility, ½-inch screening was installed at the Diversion Dam tunnel intake. - The trashrack replacement schedule requirements as stated in the 1996 License are shown below (replacement dates are from issuance of the license in 1996): - Moshier: within 2 years - Eagle: within 10 years - Soft Maple: within 2 years - Effley: within 6 years - Elmer: within 14 years - Taylorville: within 10 years - Belfort: within 14 years - High Falls: within 6 years - The trashracks have been replaced according to the requirements for all the Beaver River Project Developments. | # NO = Fail |
| # D. Watershed Protection | # PASS | # FAIL |
| 1 ) Is there a buffer zone dedicated for conservation purposes (to protect fish and wildlife habitat, water quality, aesthetics and/or low-impact recreation) extending 200 feet from the average annual high water line for at least 50% of the shoreline, including all of the undeveloped shoreline? | # YES = Pass, go to E and receive 3 extra years of certification | # NO = go to D2 - No – The Project Boundary does not extend 200 feet above the high water mark around more than 50% of the impoundment shoreline. |
| 2 ) Has the Facility owner/operator established an approved watershed enhancement fund that: 1) could achieve within the project’s watershed the ecological and recreational equivalent of land protection in D.1, and 2) has the agreement of appropriate stakeholders and state and federal resource agencies? | # YES = Pass, go to E and receive 3 extra years of certification Yes – Attachment 2 to the 1995 Settlement Offer and Article 416 of the Beaver River Project license require the licensee to contribute $14,000 per year to the Beaver River Fund for the first 15 years of the license term and $20,000 a year for the following 15 years of the license term. The Beaver River Fund is distributed according to the recommendations of the Beaver River Advisory Council, composed of signatories to the Settlement Offer. The Beaver River Fund is to be used within the Beaver River basin for the purposes of ecosystem restoration and protection, natural resource stewardship, public education, facility maintenance, applied research, and additional public access to outdoor recreational resources. Article 416 of the Beaver River Project license requires the licensee to file an annual report with FERC of contributions to the Beaver River Fund; the most recent report is included in Attachment H. | NO = go to D3 |
| 3 ) Has the Facility owner/operator established through a settlement agreement with appropriate stakeholders, with state and federal resource agencies agreement, an appropriate shoreland buffer or equivalent watershed land protection plan for conservation purposes (to protect fish and wildlife habitat, water quality, aesthetics and/or low impact recreation)? | # YES = Pass, go to E Yes – The Beaver River Project is in compliance with FERC License requirements regarding protection, mitigation, and enhancement (PM&E) measures of project lands and watershed protection. These include limited impoundment fluctuations for shoreline erosion control, erosion/sediment control plans for any new construction and management of project lands, through permits, used by the public, municipalities, utilities, etc. as agreed to in the Settlement Agreement. | # NO = go to D4 |
| 4 ) Is the facility in compliance with both state and federal resource agencies recommendations in a license approved shoreland management plan regarding protection, mitigation or enhancement of shorelands surrounding the project? | # YES = Pass, go to E N/A = Pass go to E N/A | # No = Fail |
| # E. Threatened and Endangered Species Protection | # PASS | # FAIL |
| # Are threatened or endangered species listed under state or federal Endangered Species Acts present in the Facility area and/or downstream reach? | YES = Go to E2 NO = Pass, go to F No – According to a 2013 review of USFWS’s New York Field Office website, except for an occasional transient species, there are no federal threatened or endangered fish, wildlife or plant species present in the Beaver River Project area or downstream reaches. In the winter of 2013, during preparation of this application, Erie consulted with NYSDEC’s Natural Heritage Program for an updated list of threatened and endangered species that may occur in the vicinity of the Beaver River Project. Pursuant to a letter dated February 27, 2013, NYSDEC indicated that there are no records of rare or state listed animals or plants, significant natural communities or other significant habitats, on or in the immediate vicinity of the Elmer Development. Although the Common Loon (Gavia immer) is not listed as threatened or endangered, the NYSDEC indicated in their letter that it is listed as a species of Special Concern in the vicinity of the Elmer Development. The record of consultation is included in Attachment I. There are no specific requirements for endangered species protection in the FERC License or WQC for the Beaver River Project. The NYSDEC has not adopted a formal recovery plan for the Common Loon. |  |
| # 2) If a recovery plan has been adopted for the threatened or endangered species pursuant to Section 4(f) of the Endangered Species Act or similar state provision, is the Facility in Compliance with all recommendations in the plan relevant to the Facility? | YES = Go to E3 N/A = Go to E3 N/A | NO = Fail |
| # 3) If the Facility has received authorization to incidentally Take a listed species through: (i) Having a relevant agency complete consultation pursuant to ESA Section 7 resulting in a biological opinion, a habitat recovery plan, and/or (if needed) an incidental Take statement; (ii) Obtaining an incidental Take permit pursuant to ESA Section 10; or (iii) For species listed by a state and not by the federal government, obtaining authorization pursuant to similar state procedures; is the Facility in Compliance with conditions pursuant to that authorization? | YES = Go to E4 N/A = Go to E5 N/A | NO = Fail |
| # 4) If a biological opinion applicable to the Facility for the threatened or endangered species has been issued, can the Applicant demonstrate that: - The biological opinion was accompanied by a FERC License or exemption or a habitat conservation plan? Or - The biological opinion was issued pursuant to or consistent with a recovery plan for the endangered or threatened species? Or - There is no recovery plan for the threatened or endangered species under active development by the relevant Resource Agency? Or - The recovery plan under active development will have no material effect on the Facility’s operations? | # YES = Pass, go to F N/A | NO = Fail |
| # 5) If E.2 and E.3 are not applicable, has the Applicant demonstrated that the Facility and Facility operations do not negatively affect listed species? | # YES = Pass, go to F N/A | # NO = Fail |
| # F. Cultural Resource Protection | # PASS | # FAIL |
| # If FERC-regulated, is the Facility in Compliance with all requirements regarding Cultural Resource protection, mitigation or enhancement included in the FERC License or exemption? | # YES = Pass, go to G # N/A = Go to F2 - Yes - In 1996, the licensee executed a programmatic agreement (PA) with FERC, the Advisory Council on Historic Preservation, and the New York State Historic Preservation Officer (SHPO) for managing historic properties that may be affected by licenses issued for the continued operation of fourteen hydroelectric projects. Appendix A of the Programmatic Agreement discusses historic properties that could potentially be affected by operation of the Beaver River Project (see Attachment J). - The Facilities in the Beaver River Project are in compliance with all requirements regarding cultural resource protection, mitigation, or enhancement included in the 1996 FERC License. The historical resources for the Beaver River Project are limited to the Belfort Development powerhouse, penstocks and ogee dam. - Article 417 of the 1996 License requires the licensee to implement the PA, including the filing of a Cultural Resource Management Plan (CRMP). Erie developed the CRMP in consultation with the SHPO and filed the CRMP with FERC in July 1997. FERC’s October 7, 1997 order approving the CRMP is included in Attachment J. Erie files a report of activities associated with the CRMP each year with FERC; the most recent report is included in Attachment J | # NO = Fail |
| # If not FERC-regulated, does the Facility owner/operator have in place (and is in Compliance with) a plan for the protection, mitigation or enhancement of impacts to Cultural Resources approved by the relevant state or federal agency or Native American Tribe, or a letter from a senior officer of the relevant agency or Tribe that no plan is needed because Cultural Resources are not negatively affected by the Facility? | # YES = Pass, go to G N/A | # NO = Fail |
| # G. Recreation | # PASS | # FAIL |
| # If FERC-regulated, is the Facility in Compliance with the recreational access, accommodation (including recreational flow releases) and facilities conditions in its FERC License or exemption? | # YES = Go to G3 # N/A = Go to G2 - Yes - The Beaver River Project Developments are in compliance with recreational access, accommodation, and facilities conditions in the FERC License. - Article 415 of the FERC License required the licensee to file for FERC approval a recreation plan to construct, operate, and maintain existing and then-proposed recreational facilities at the Moshier, Eagle, Soft Maple, Effley, Elmer, Taylorville, Belfort, and High Falls Developments. The Licensee filed the final recreation plan for the Beaver River Project in July 1997, and FERC issued an order approving the plan in August 1997 (see Attachment K). Article 415 of the 1996 FERC License states that the recreation plan is to include provisions for implementing new facilities such as car-top boat launches, canoe portages, picnic areas, campsites, and scenic overlooks. Recreational enhancements associated with the 1996 FERC License, all of which have been implemented, are further described in the attached final recreation plan for the Beaver River Project (Attachment K). | # NO = Fail |
| # If not FERC-regulated, does the Facility provide recreational access, accommodation (including recreational flow releases) and facilities, as Recommended by Resource Agencies or other agencies responsible for recreation? | # YES = Go to G3 N/A | # NO = Fail |
| # Does the Facility allow access to the reservoir and downstream reaches without fees or charges? | # YES = Pass, go to H Yes – the licensee permits free public access to the shorelines of the Moshier, Eagle, Soft Maple, Effley, Elmer, Taylorville, Belfort and High Falls Developments across licensee-owned lands where project facilities, hazardous areas and existing leases, easements, and private ownership do not preclude access. | # NO = Fail |
| # Facilities Recommended for Removal | # PASS | # FAIL |
| # Is there a Resource Agency Recommendation for removal of the dam associated with the Facility? | # NO = Pass, Facility is Low Impact No – No resource agency has recommended removal of any of the dams associated with the Beaver River Project. | # YES = Fail |