Low Impact Hydropower Institute

34 Providence Street

Portland, ME 04103

Tel. (207) 773-8190 · Fax (206) 984-3086

www.lowimpacthydro.org

# LOW IMPACT HYDROPOWER QUESTIONNAIRE

[Excerpted from Part VI, Section E of the Low Impact Hydropower Certification Program.  Words in italics are defined in Part VI, Section C, and line-by-line instructions are available in Section D of the program, available on-line in PDF format at

http://www.lowimpacthydro.org.

E.  LOW IMPACT HYDROPOWER QUESTIONNAIRE

| # Background Information |  |  |  |
| --- | --- | --- | --- |
| # 1) Name of the Facility. |  | # West Dudley Hydroelectric Project |  |
| # 2) Applicant’s name, contact information and relationship to the Facility. If the Applicant is not the Facility owner/operator, also provide the name and contact information for the Facility owner and operator. |  | # West Dudley Hydro, LLC (owner) 509 Main Street, PO Box 199 Sturbridge, MA 01566 Ben Rawson V: 860-928-4458 # brawson@rawsonscreens.com & sjh@essexhydro.com |  |
| # 3) Location of Facility by river and state. |  | # Quinebaug River, Dudley, MA |  |
| # 4) Installed capacity. |  | # 0.310 MW |  |
| # 5) Average annual generation. |  | # 969 MWh |  |
| # 6) Regulatory status. |  | Exempted from FERC Licensing (May 1, 1983) |  |
| # 7) Reservoir volume and surface area measured at the high water mark in an average water year. |  | # Surface Area: 31 Acres Gross Reservoir Volume: 201 Acre-Feet Net Storage Capacity: 0 (run-of-river) |  |
| # 8) Area occupied by non-reservoir facilities (e.g., dam, penstocks, powerhouse). |  | # Less than 10 Acres |  |
| # 9) Number of acres inundated by the Facility. |  | # Approximately 3 Acres |  |
| # 10) Number of acres contained in a 200-foot zone extending around entire impoundment. |  | # Approximately 3 acres |  |
| # 11) Please attach a list of contacts in the relevant Resource Agencies and in non-governmental organizations that have been involved in Recommending conditions for your Facility. |  | Please see Appendix 2 |  |
| # 12) Please attach a description of the Facility, its mode of operation (i.e., peaking/run of river) and a map of the Facility. |  | # Please see Appendix 3 |  |
| # Questions For “New” Facilities Only: # If the Facility you are applying for is “new” i.e., an existing dam that added or increased power generation capacity after August of 1998 please answer the following questions to determine eligibility for the program |  |  |  |
| # 13) When was the dam associated with the Facility completed? |  |  |  |
| # 14) When did the added or increased generation first generate electricity? If the added or increased generation is not yet operational, please answer question 18 as well. |  |  |  |
| # 15) Did the added or increased power generation capacity require or include any new dam or other diversion structure? |  |  |  |
| # 16) Did the added or increased capacity include or require a change in water flow through the facility that worsened conditions for fish, wildlife, or water quality, (for example, did operations change from run-of-river to peaking)? |  |  |  |
| # 17 (a) Was the existing dam recommended for removal or decommissioning by resource agencies, or recommended for removal or decommissioning by a broad representation of interested persons and organizations in the local and/or regional community prior to the added or increased capacity? # (b) If you answered “yes” to question 17(a), the Facility is not eligible for certification, unless you can show that the added or increased capacity resulted in specific measures to improve fish, wildlife, or water quality protection at the existing dam. If such measures were a result, please explain. |  |  |  |
| # 18 (a) If the increased or added generation is not yet operational, has the increased or added generation received regulatory authorization (e.g., approval by the Federal Energy Regulatory Commission)? If not, the facility is not eligible for consideration; and # (b) Are there any pending appeals or litigation regarding that authorization? If so, the facility is not eligible for consideration. |  |  |  |
| ## A. Flows | # PASS |  | # FAIL |
| # Is the Facility in Compliance with Resource Agency Recommendations issued after December 31, 1986 regarding flow conditions for fish and wildlife protection, mitigation and enhancement (including in-stream flows, ramping and peaking rate conditions, and seasonal and episodic instream flow variations) for both the reach below the tailrace and all bypassed reaches? | YES (see Appendix A) |  |  |
| 2) If there is no flow condition recommended by any Resource Agency for the Facility, or if the recommendation was issued prior to January 1, 1987, is the Facility in Compliance with a flow release schedule, both below the tailrace and in all bypassed reaches, that at a minimum meets Aquatic Base Flow standards or “good” habitat flow standards calculated using the Montana-Tennant method? | N/A |  |  |
| ## 3) If the Facility is unable to meet the flow standards in A.2., has the Applicant demonstrated, and obtained a letter from the relevant Resource Agency confirming that demonstration, that the flow conditions at the Facility are appropriately protective of fish, wildlife, and water quality? | # N/A |  |  |
| # B. Water Quality | # PASS |  | # FAIL |
| # Is the Facility either: # In Compliance with all conditions issued pursuant to a Clean Water Act Section 401 water quality certification issued for the Facility after December 31, 1986? Or # In Compliance with the quantitative water quality standards established by the state that support designated uses pursuant to the federal Clean Water Act in the Facility area and in the downstream reach? | Yes (see Appendix B) |  |  |
| # 2) Is the Facility area or the downstream reach currently identified by the state as not meeting water quality standards (including narrative and numeric criteria and designated uses) pursuant to Section 303(d) of the Clean Water Act? | #### No |  |  |
| # 3) If the answer to question B.2 is yes, has there been a determination that the Facility is not a cause of that violation? | See Appendix B-1, B-2 |  |  |
| # C. Fish Passage and Protection | # PASS |  | # FAIL |
| # Is the Facility in Compliance with Mandatory Fish Passage Prescriptions for upstream and downstream passage of anadromous and catadromous fish issued by Resource Agencies after December 31, 1986? | Yes (see Appendix C-1, C-2) |  |  |
| # Are there historic records of anadromous and/or catadromous fish movement through the Facility area, but anadromous and/or catadromous fish do not presently move through the Facility area (e.g., because passage is blocked at a downstream dam or the fish run is extinct)? # If the fish are extinct or extirpated from the Facility area or downstream reach, has the Applicant demonstrated that the extinction or extirpation was not due in whole or part to the Facility? - If a Resource Agency Recommended adoption of upstream and/or downstream fish passage measures at a specific future date, or when a triggering event occurs (such as completion of passage through a downstream obstruction or the completion of a specified process), has the Facility owner/operator made a legally enforceable commitment to provide such passage? | # N/A |  |  |
| # 3) If, since December 31, 1986: # a) Resource Agencies have had the opportunity to issue, and considered issuing, a Mandatory Fish Passage Prescription for upstream and/or downstream passage of anadromous or catadromous fish (including delayed installation as described in C2a above), and # b) The Resource Agencies declined to issue a Mandatory Fish Passage Prescription, # c) Was a reason for the Resource Agencies’ declining to issue a Mandatory Fish Passage Prescription one of the following: (1) the technological infeasibility of passage, (2) the absence of habitat upstream of the Facility due at least in part to inundation by the Facility impoundment, or (3) the anadromous or catadromous fish are no longer present in the Facility area and/or downstream reach due in whole or part to the presence of the Facility? | # N/A |  |  |
| # 4) If C3 was not applicable: # Are upstream and downstream fish passage survival rates for anadromous and catadromous fish at the dam each documented at greater than 95% over 80% of the run using a generally accepted monitoring methodology? Or # If the Facility is unable to meet the fish passage standards in 4.a., has the Applicant demonstrated, and obtained a letter from the US Fish and Wildlife Service or National Marine Fisheries Service confirming that demonstration, that the upstream and downstream fish passage measures (if any) at the Facility are appropriately protective of the fishery resource? | NA |  |  |
| # 5) Is the Facility in Compliance with Mandatory Fish Passage Prescriptions for upstream and/or downstream passage of Riverine fish? | None prescribed. |  |  |
| # 6) Is the Facility in Compliance with Resource Agency Recommendations for Riverine, anadromous and catadromous fish entrainment protection, such as tailrace barriers? | # None prescribed. |  |  |
| # D. Watershed Protection | # PASS |  | # FAIL |
| 1 ) Is there a buffer zone dedicated for conservation purposes (to protect fish and wildlife habitat, water quality, aesthetics and/or low-impact recreation) extending 200 feet from the high water mark in an average water year around 50 - 100% of the impoundment, and for all of the undeveloped shoreline | # See Appendix D |  |  |
| 2 ) Has the facility owner/operator established an approved watershed enhancement fund that: 1) could achieve within the project’s watershed the ecological and recreational equivalent of land protection in D.1.,and 2) has the agreement of appropriate stakeholders and state and federal resource agencies? | # N/A |  |  |
| 3 ) Has the facility owner/operator established through a settlement agreement with appropriate stakeholders and that has state and federal resource agencies agreement an appropriate shoreland buffer or equivalent watershed land protection plan for conservation purposes (to protect fish and wildlife habitat, water quality, aesthetics and/or low impact recreation) | # see Appendix D |  |  |
| 4 ) Is the facility in compliance with both state and federal resource agencies recommendations in a license approved shoreland management plan regarding protection, mitigation or enhancement of shorelands surrounding the project. | # N/A |  |  |
| # E. Threatened and Endangered Species Protection | # PASS |  | # FAIL |
| # Are threatened or endangered species listed under state or federal Endangered Species Acts present in the Facility area and/or downstream reach? | No (see Appendix E) |  |  |
| # 2) If a recovery plan has been adopted for the threatened or endangered species pursuant to Section 4(f) of the Endangered Species Act or similar state provision, is the Facility in Compliance with all recommendations in the plan relevant to the Facility? | # N/A |  |  |
| # 3) If the Facility has received authority to incidentally Take a listed species through: (i) Having a relevant agency complete consultation pursuant to ESA Section 7 resulting in a biological opinion, a habitat recovery plan, and/or (if needed) an incidental Take statement; (ii) Obtaining an incidental Take permit pursuant to ESA Section 10; or (iii) For species listed by a state and not by the federal government, obtaining authority pursuant to similar state procedures; is the Facility in Compliance with conditions pursuant to that authority? | # N/A |  |  |
| # 4) If a biological opinion applicable to the Facility for the threatened or endangered species has been issued, can the Applicant demonstrate that: - The biological opinion was accompanied by a FERC license or exemption or a habitat conservation plan? Or - The biological opinion was issued pursuant to or consistent with a recovery plan for the endangered or threatened species? Or - There is no recovery plan for the threatened or endangered species under active development by the relevant Resource Agency? Or - The recovery plan under active development will have no material effect on the Facility’s operations? | # N/A |  |  |
| # 5) If E.2. and E.3. are not applicable, has the Applicant demonstrated that the Facility and Facility operations do not negatively affect listed species? | # N/A |  |  |
| # F. Cultural Resource Protection | # PASS |  | # FAIL |
| # If FERC-regulated, is the Facility in Compliance with all requirements regarding Cultural Resource protection, mitigation or enhancement included in the FERC license or exemption? | # YES (see Appendix F-1) |  |  |
| # If not FERC-regulated, does the Facility owner/operator have in place (and is in Compliance with) a plan for the protection, mitigation or enhancement of impacts to Cultural Resources approved by the relevant state or federal agency or Native American Tribe, or a letter from a senior officer of the relevant agency or Tribe that no plan is needed because Cultural Resources are not negatively affected by the Facility? | # N/A |  |  |
| # G. Recreation | # PASS |  | # FAIL |
| # If FERC-regulated, is the Facility in Compliance with the recreational access, accommodation (including recreational flow releases) and facilities conditions in its FERC license or exemption? | # N/A (See Appendix G) |  |  |
| # If not FERC-regulated, does the Facility provide recreational access, accommodation (including recreational flow releases) and facilities, as Recommended by Resource Agencies or other agencies responsible for recreation? | # N/A |  |  |
| # Does the Facility allow access to the reservoir and downstream reaches without fees or charges? | # Yes |  |  |
| # Facilities Recommended for Removal | # PASS |  | # FAIL |
| # Is there a Resource Agency Recommendation for removal of the dam associated with the Facility? | # NO |  |  |

Appendix 1

West Dudley Hydro

# Ownership/Regulatory Status

The West Dudley hydroelectric project (the West Dudley project”) presently is owned and operated by West Dudley Hydro, LLC (“WDHLLC”), a Massachusetts limited liability company. The history of development, ownership and operation of the West Dudley project is described below.

Construction of the Quinebaug River Pond Dam (also called the Rhode Island Cardboard Company Dam) was completed in 1919. The West Dudley Power Company filed a notice of exemption from licensing of a small hydroelectric project, known as West Dudley, project No. 7254, on May 2, 1983. No agency comments were received in opposition to the exemption and on June 10, 1983 the Federal Energy Regulatory Commission (“FERC”) issued an exemption to the West Dudley Power Company authorizing the operation and maintenance of the West Dudley hydroelectric project (FERC 7254) (see Appendix 1-1). Project works consisted of the dam, including existing flashboards 2 feet in height, and a brick and masonry powerhouse containing three turbine generators with a total installed capacity of 310 kw.

A&D Hydro, Inc. purchased the West Dudley project from The West Dudley Power Company in the early 1990’s. On January 21, 1994 A&D Hydro, Inc. filed an Application for Amendment of Exemption with the FERC to request that paragraph (4)(i) of the Notice of Exemption for the project number 7254-MA be amended to reflect the fact that: (1) the existing flashboards were and are 4 feet in height (not 2 feet), (2) the impoundment surface elevation was and is 381.8 feet NGVD, and; (3) the minimum (i.e. low flow) tail water is 369 feet NGVD.

A&D Hydro, Inc stated that, to the best of its knowledge and belief, since the project’s inception, no change had been made to increase the impoundment elevation or to alter the capacity or hydraulic discharge of the projects turbines. The maximum gross head is demonstrably less than 13 feet.

Ownership of the project was transferred from A&D Hydro, Inc. to West Dudley Hydro, LLC in 2004.

Appendix 2

West Dudley Hydro

# Listing of Authorities/Agencies Contacted

##### Federal

Melissa Grader

Fish and Wildlife Service

United States Department of the Interior

c/o Connecticut River Coordinator's Office
103 East Plumtree Road

Sunderland, MA 01375

Mr. Thomas C. McMahon

Director

Department of Environmental Quality Engineering

Division of Water Pollution Control

One Winter Street

Boston, MA 02108

Mr. Gordon E. Beckett

Fish and Wildlife Service

United States Department of the Interior

P.O. Box 1518

Concord, NH 03301

Ms. Ruth Rehfus

National Oceanic and Atmospheric Administration

United States Department of Commerce

7 Pleasant Street

Gloucester, ME 01903

# State

Mr. Edward L. Bell

Senior Archaeologist

Massachusetts Historical Commission

220 Morrissey Boulevard

Boston, MA 02125

Telephone: (617) 727-5128

Mr. Peter H. Oatis

Assistant Director

Division of Fisheries and Wildlife

Field Headquarters

Westborough, MA 01591

Mr. Robert Kubit, P.E.

Mass DEP

Division of Watershed Management

627 Main Street

Worcester, MA 01608

Telephone: (508) 767-2854

Email: Robert.kubit@state.ma.us

Appendix 3

West Dudley Hydro

# Project Location and Operations

The West Dudley Hydroelectric Project (“the project”) is located on the Quinebaug River in the town of Dudley, Massachusetts. Industrial, residential and undeveloped lands are all found in the project area. Some of the undeveloped land primarily on the west side of the river, close as it is to intensive industrial and commercial use, provides some wildlife habitat. Undeveloped lands include a number of wooded areas some of which are seasonally flooded. The remainder of the area consists of low-density residential and small industrial development. The project area, as outlined in the attached Project Boundary Map, Appendix 3-1, is located in the Thames River Basin.  The approximate latitude and longitude of the project area are 42° 3'1.64"N and 71°58'53.05"W.

The project is operated as a run-of-river facility. The project is required to maintain a continuous minimum flow of 76 cubic feet per second (ABF .5 cfs) or the inflow to the reservoir, whichever is less. Project works consist of: (a) a reservoir with an 31-acre surface area, and a useable storage capacity of 201 acre-feet; (b) a 55 foot spillway; (c) a dam consisting of two sections 55 feet in length and 144 feet in length, at the junction of which is located an existing 60 foot stone and masonry powerhouse; (d) 4 foot high flashboards; (e) transmission equipment and electrical facilities; and (f) appurtenant equipment.

The powerhouse contains three turbine generators. Unit 1 consists of a modified Medsker bran turbine with a belt driven induction motor. It is a fixed blade Kaplan style which develops 95 kw of power. Unit 2 is also a modified Medsker brand turbine with a belt driven induction motor. It is a fixed blade Kaplan style which develops 120 kw of power. Unit 3 is a Flygt brand submersible unit with a direct-coupled planetary gearbox and induction generator. It is an adjustable blade Kaplan style with output of 95 kw. The total water flow through the project at full operation is approximately 500 cfs.

The project utilizes a previously existing impoundment and the plant is unmanned, but operation is monitored on a 24/7 basis.

Appendix A

West Dudley Hydro

# Description of Project flows

River flow History

The Quinebaug River is a river in south-central Massachusetts and eastern Connecticut, with watershed extending into western Rhode Island. The river is about 80 miles in length. It originates from an unnamed pond near Mashapaug Pond in Union, Connecticut, and ponds northwest of Sturbridge, Massachusetts, flows generally southeast and south through Connecticut and joins Aspinook pond which begins in Canterbury and ends in Jewett City. The river then continues to the Shetucket River northeast of Norwich. That river flows from there into the Thames River and drains into the Long Island Sound. The Quinebaug River is dammed in its upper reaches at East Brimfield Dam, Westville Dam, and West Thompson Dam all for flood control, as well as numerous mill dams, including the Quinebaug River Pond Dam which provided power to mills along the river's course.

The Quinebaug River watershed covers 850 square miles and extends into western Rhode Island. It is heavily forested with 29 named streams including six major tributaries (the French, Moosup, Five Mile Rivers, and the Wales, Mill and Cady brooks). The watershed also contains 54 lakes and ponds, 31 of which with an area of 10 acres or more, for a total of about 3,000 acres; the largest is East Brimfield Reservoir in Brimfield and Sturbridge The watershed is home to fish species including trout, smallmouth bass, largemouth bass, northern pike, and panfish. Elevations range from 1,264 feet above sea level on Mount Pisgah in Wales, Massachusetts, to about 25 ft in Norwich, Connecticut.

A gauge, located seven miles upstream from the West Dudley project, was maintained in the Quinebaug from 1963 to 1990 and 2003 to 2009. The average flow over the 35 years of record was 184 cfs. The maximum discharge of record, 259 cfs (estimated), occurred in 1984; the minimum, 76.9 cfs, occurred in 1965. In accordance with its FERC License (project No. 7245) the project is operated as a run of river facility and is responsible for maintaining a continuous minimum flow of 76 cubic feet per second or the inflow to the reservoir, whichever is less, for the protection and enhancement of aquatic resources in the Quinebaug River. (see Appendix 1-1)

Appendix B

West Dudley Hydro

# Water Quality

The West Dudley hydroelectric project has operated without a 401 water quality certificate since its construction in 1919 and the Federal Energy Regulatory Commission’s issuance of its exemption (FERC Project No. 7254) in 1983. West Dudley Hydro, LLC is currently working with Mr. Robert Kubit, Massachusetts Department of Environment Protection (Mass DEP), Division of Watershed Management, to develop and implement a testing program to confirm that the West Dudley project is not causing or contributing to violations of state water quality standards.(see Appendix B-1)

Dr. Mauri Pelto of Nichols College has developed a sampling plan which has been approved by Mass DEP. (see appendix B-2) Testing is scheduled to begin in July 2011 and all required testing is expected to be completed by September 30, 2011. The results from the testing will be sent to Robert Kubit at Mass DEP for his analysis and comment. Test results and comments from Mass DEP will be forwarded to the Low Impact Hydropower Institute upon receipt.

Appendix C

West Dudley Hydro

# Fish Passage and Protection

The West Dudley hydroelectric project is not currently required by any state or federal agency to maintain upstream or downstream fish passage facilities.

Dr. Caleb Slater at the Massachusetts Division of Fisheries and Wildlife confirmed via letter dated March 16, 2011 that there are no anadromous fish species present in the vicinity of the Project and thus upstream and downstream fish passage at the project is not required until such time as migratory fish are restored to the project area. (see Appendix C-1). A request was submitted to Melissa Grader at the U.S. Fish and Wildlife Service (see Appendix C-2) for confirmation that the Project is operating within the terms of its Exemption.

Appendix D

West Dudley Hydro

# Description of Watershed Protection

As was previously mentioned, the Quinebaug River Pond dam is located in Dudley, Massachusetts, approximately 130 feet upstream from the crossing of West Dudley Road over the Quinebaug River. The watershed area formed by the dam impoundment extends approximately 31 acres. The gross reservoir volume is 201 acre-feet. The projected is operated as a run of river facility with a net storage capacity of zero. A 200-foot boundary zone extending around the impoundment is bordered by residential and commercial real estate (see Exhibit 3-1).

The Quinebaug River basin has a total drainage area of 1,077 square miles. From the central valley of the main stem of the Quinebaug River to the limits of the watershed, the landscape is broad, forested, and rural, with small towns and cities scattered throughout. The bedrock of the Quinebaug River watershed is mostly granite and is covered with a mantle of soils, sand, gravel, and rock.

The land in the immediate vicinity of the West Dudley hydroelectric dam is rural in character, moderately developed and privately owned. The flows below the West Dudley project have minimal effect on shoreline erosion due to the predominantly granite and gravel substrates in the tailrace areas. There has been minimal colonization of exposed shorelines by emergent plants within the 200-foot boundary area due to the commercial and residential landscape. The species that do exist consist of generally old-field primary successional species that are indicative of an area that has previously been cut over and disturbed.

Layout and landscaping of the powerhouse grounds was designed in a manner to minimize visual impact and mitigate the project’s impact on the surrounding shoreline. As a condition of issuance, the FERC Exemption requires compliance with any terms and conditions that the Federal or State fish and wildlife agencies have determined appropriate to prevent loss of, or damage to, fish and wildlife resources. There have been no deficiencies noted by any agency with jurisdiction for the plant.

Appendix E

West Dudley Hydro

# Description of Threatened and Endangered Species Protection

The West Dudley project is located in a commercial and residential area with very little vegetation present. The following plant species have been reported to be present in the town of Dudley, Massachusetts. However, as some of the observations date back to the 1800’s, the presence of these plants is questionable.

It should be noted that at present, none of these species are on the Federal list of endangered plants nor are they being proposed for inclusion on this list.

## Taxonomic group		Scientific name		Common name

Amphibian 			Ambystoma opacum 	Marbled Salamander

Butterfly/Moth 		Rhodoecia aurantiago 	Orange Sallow Moth

Dragonfly/Damselfly 	Anax longipes 		Comet Darner

Vascular Plant 		Sphenopholis nitida 	Shining Wedgegrass

Vascular Plant 		Veronicastrum virginicum 	Culver's-root

No federally listed threatened or endangered plant species are known to occur within the West Dudley facility area.

As a condition of issuance, the FERC Exemption requires compliance with any terms and conditions that the Federal or State fish and wildlife agencies have determined appropriate to prevent loss of, or damage to, fish and wildlife resources. Based on commitments to comply with both state and federal agency recommendations, the facility operates within FERC and Federal or State Fish and Wildlife Agency guidelines. The project’s exemption is subject to termination if the facility is found to be out of compliance. There have been no deficiencies noted by any agency with jurisdiction for the plant.

Dr. Caleb Slater of the Massachusetts Division of Fish and Wildlife confirmed via letter dated March 16, 2011 that “provisions of the project’s FERC exemption provide adequate protection for threatened and endangered species found within the project area. (see Appendix C-1)

Appendix F

West Dudley Hydro

# Cultural Resources

A request was submitted on March 11th, 2011 to the Massachusetts Historical Commission for confirmation that there are no known historic properties affected by the project (see Appendix F-1). The Massachusetts Historical Commission confirmed in its response dated March 21st that the West Dudley hydroelectric facility has no potential to case effects to any known cultural resources (see Appendix F-2).

Appendix G

West Dudley Hydro

# Recreation

The West Dudley Hydroelectric Project is not required by any state or federal agency to maintain recreation access facilities within the project vicinity. There have been no changes in the regulatory status of the project since the issuance of the FERC Exemption for the project in 1983, nor have there been any agency comments noting deficiencies in the project’s compliance with any conditions contained in the documents related to the FERC Exemption and agency review of the project.

Minimal hiking and boating occurs within a safe distance of the Project. Access to the reservoir and downstream reaches of the project is permitted without fees or charges.