Oswego river projects

Lihi application for certification

summary

The Oswego River Projects consist of six developments comprising three hydroelectric projects along the Oswego River in Oswego County, New York. The projects are all located at locks and dams owned by the New York State Thruway Authority Canal Corporation (NYSCC), operator of the State Barge Canal System.

The Oswego River is formed at the confluence of the Seneca and Oneida rivers and flows approximately 23 river miles north to Lake Ontario. The Oswego River is traversed by seven locks between the cities of Phoenix and Oswego. Erie Boulevard Hydropower, L.P.’s Oswego River Projects—from upstream to downstream, the Oswego Falls East and West Developments, the Fulton and Granby Developments, the Minetto Development, and the Varick Development—all operate in a modified run-of-river mode consistent with NYSCC’s navigation requirements.

On its face, the licensing scheme of the Oswego River Projects is complicated, with the three FERC projects that comprise these projects being licensed over the course of three decades, and at vastly different points in federal and state agencies’ and the licensee’s histories. Because the operations and natural resource concerns related to the Oswego River Projects are so closely linked, all of the project operations and mitigations and enhancements were eventually brought into the folds of a single Offer of Settlement, which was accepted by FERC in 2004. The U.S. Department of Interior, U.S. Fish and Wildlife Service (USFWS), National Park Service, New York State Department of Environmental Conservation (NYSDEC), and five regional environmental organizations are parties to this agreement.

The location of the Oswego River Projects within a developed and industrialized area that is directly connected to the Great Lakes provides additional context for understanding the importance of the licensing, relicensing, and settlement agreement proceedings for the Oswego River Projects. The operational modifications and additional environmental protections and enhancements agreed on in the Offer of Settlement have achieved the goals of the Remedial Action Plan (RAP) for the Oswego River that was developed following the designation of the Oswego Harbor as a Great Lakes Area of Concern under Annex 2 of the 1987 U.S.-Canada Great Lakes Water Quality Agreement. The FERC license and settlement agreement provisions are credited with playing a major role in the delisting of the Oswego River as a Great Lakes Area of Concern.

The Fulton and Granby Developments share the Lower Fulton Dam and were originally licensed by FERC as one project, along with the Minetto and Varick developments. At the request of the previous licensee for the Oswego River Project, Niagara Mohawk Power Corporation, the Granby Development was removed from the license in 1980, and a new license was issued to allow for relicensing and redevelopment of the Granby Project (now FERC No. 2837).

Niagara Mohawk initiated the licensing proceeding for the Oswego Falls Project (FERC No. 5984) by filing an original license application with FERC in 1982. Niagara Mohawk filed a relicense application for the Oswego River Project (FERC No. 2474)—which now includes the Fulton, Minetto, and Varick developments. The Oswego River Project operated under annual license for the next decade pending the disposition of the application for new license. The license for the Oswego Falls Project was issued in 1996, but was then subject to numerous rehearing requests as well as a court appeal requested by Niagara Mohawk.

Erie initiated settlement agreement negotiations with intervening agencies and organizations to resolve issues pertaining to the 401 water quality certification and FERC licensing proceeding for the Oswego River Project, establish the terms and conditions to be included in the new license for the Oswego River Project, and modify the terms and conditions of the Oswego Falls license to the satisfaction of all parties and to make it compatible with the measures of the settlement agreement for the Oswego River Project. Thus the terms and conditions of the Offer of Settlement effectively supersede the license for the Oswego Falls Project.

The Offer of Settlement was approved by FERC in the 2004 order issuing new license for the Oswego River Project. In 2006, Erie filed an application to amend the Oswego Falls Project license to allow for a maintenance upgrade to the Oswego Falls West Development. By order dated September 7, 2006, the amendment was approved by FERC and the terms of the settlement and license were modified to accelerate implementation of several environmental protections and mitigations at the Oswego Falls and Oswego River Projects.

Low Impact Hydropower Institute

34 Providence Street

Portland, ME 04103

Tel. (207) 773-8190 • Fax (206) 984-3086

www.lowimpacthydro.org

# LOW IMPACT HYDROPOWER QUESTIONNAIRE

E. LOW IMPACT HYDROPOWER QUESTIONNAIRE

| Background Information | Applicant Answer |
| --- | --- |
| 1) Name of the Facility. | Oswego River Projects: Oswego Falls Project (FERC No. 5984), Granby Project (FERC No. 2837), and Oswego River Project (FERC No. 2474) |
| 2) Applicant’s name, contact information and relationship to the Facility. If the Applicant is not the Facility owner/operator, also provide the name and contact information for the Facility owner and operator. | Mr. Steven P. Murphy Compliance Specialist Erie Boulevard Hydropower, L.P. c/o Brookfield Power 225 Greenfield Parkway, Suite 201 Liverpool, NY 13088 |
| 3) Location of Facility by river and state. | Oswego River, New York |
| 4) Installed capacity. | Oswego Falls Project: Granby Project: Oswego River Project: Total installed capacity: | 7.46 MW 10.08 MW 18.05 MW 35.59 MW |
| 5) Average annual generation. | Oswego Falls Project: Granby Project: Oswego River Project: Total average annual generation: | 44.4 GWh 58.6 GWh 72.5 GWh 175.5 GWh |
| 6) Regulatory status. | FERC-licensed. Licenses were issued for the Oswego River Projects according to the schedule below: Granby Project: April 7, 1980 (11 FERC ¶ 62,011) Oswego Falls Project: March 15, 1996 (74 FERC ¶62,138) Oswego River Project: November 30, 2004 (109 FERC ¶62,141) During the relicensing proceedings for the Oswego River Project, Erie initiated settlement negotiations with intervening agencies and organizations to resolve issues pertaining to the 401 water quality certification and to establish the terms and conditions to be included in the new FERC license for the Oswego River Project, as well as to modify the terms and conditions of the Oswego Falls license to make it compatible with the measures of the Offer of Settlement for the Oswego River Project. This Offer of Settlement was filed with and approved by FERC in 2004. The terms and conditions of the Offer of Settlement supersede the license for the Oswego Falls Project and previously-filed agency recommendations for the Oswego River Project. On September 7, 2006 (116 FERC ¶62,191), FERC issued an order amending the license for the Oswego Falls Project to allow for a maintenance upgrade to the Oswego Falls East Development and accelerating the schedule for eel passage installation at the Oswego Falls and Oswego River Projects. |
| 7) Reservoir volume and surface area measured at the high water mark in an average water year. | Oswego Falls East and West Developments: Granby and Fulton Developments: Minetto Development: Varick Development: | 3,540 acre-feet 620 acre-feet 4,730 acre-feet 435 acre-feet | 580 surface acres 33 surface acres 350 surface acres 32 surface acres |
| 8) Area occupied by non-reservoir facilities (e.g., dam, penstocks, powerhouse). | Not Required |
| 9) Number of acres inundated by the Facility. | Not Required |
| 10) Number of acres contained in a 200-foot zone extending around entire impoundment. | Not Required |
| 11) Please attach a list of contacts in the relevant Resource Agencies and in non-governmental organizations that have been involved in recommending conditions for your Facility. | A list of key resource agencies and NGOs involved in license proceedings and settlement agreement is attached. |
| 12) Please attach a description of the Facility, its mode of operation (i.e., peaking/run of river) and a map of the Facility. | All of the Oswego River developments are located at dams owned by the New York State Thruway Authority Canal Corporation (NYSCC) and support the locks operated by NYSCC as part of the State Barge Canal system. The six developments described in this application are located at four dams—the Oswego Falls (East and West) developments share a dam, as do Fulton and Granby. All six developments operate in a modified run-of-river mode. A map of the Oswego River developments, descriptions of the project facilities and operations, and Exhibit F and G project drawings are attached. |
| Questions for “New” Facilities Only: If the Facility you are applying for is “new” i.e., an existing dam that added or increased power generation capacity after August of 1998 please answer the following questions to determine eligibility for the program | An additional 600 kW of increased power generation capacity has been installed at the existing Oswego Falls West development of the Oswego Falls Project. The increased capacity was achieved through the replacement of the existing Francis unit Number 3 with two vertical propeller units and replacement of the unit 3 horizontal generator with two new vertically-oriented generators. Because this capacity was added after August 1998, the Oswego Falls West development of the Oswego Falls Project is treated as a “new” facility for questions 13 through 18 below. |
| 13) When was the dam associated with the Facility completed? | The Oswego Falls West development is located at the New York State Thruway Authority’s (NYSCC) Canal Corporation Upper Fulton Dam (Lock 2), which was constructed in 1927. |
| 14) When did the added or increased generation first generate electricity? If the added or increased generation is not yet operational, please answer question 18 as well. | The increased generation was placed into operation on April 3, 2007. |
| 15) Did the added or increased power generation capacity require or include any new dam or other diversion structure? | No – The increased generation capacity did not require any new dam or other diversion structure. The increased generation has been achieved through replacement of a turbine-generator unit. |
| 16) Did the added or increased capacity include or require a change in water flow through the facility that worsened conditions for fish, wildlife, or water quality (for example, did operations change from run-of-river to peaking)? | No – The increased capacity did not result in changes that worsened conditions for fish, wildlife, and water quality. The increased capacity increases the overall discharge of the Oswego Falls Project by 432 cfs, or 6.6% and does not affect the modified run-of-river operating regime or minimum flows stipulated in the 1996 license order or 2004 Offer of Settlement. With respect to fish impingement, the entire canal headgate at Upper Fulton Dam is equipped with trashracks with 1-inch clear bar spacing. The increased hydraulic capacity only incrementally increased the approach velocity (as measured 1 ft in front of the trashracks in accordance with USFWS guidelines), and the velocity is still 0.52 ft below the recommended maximum 2 ft per second. As for fish entrainment, during consultation associated with preparation of the amendment application, the USFWS did not oppose the upgrade but did express concern that the diversion of more water through the Oswego Falls West turbines could potentially increase entrainment. Erie and USFWS agreed that acceptable mitigation for this potential effect would be to accelerate the schedule for upstream eel passage proposed in the 2004 Offer of Settlement to require installation of eel conveyance systems at the Upper and Lower Fulton Dams, Minetto Dam, and Varick Dam by the end of 2008. |
| 17) (a) Was the existing dam recommended for removal or decommissioning by resource agencies, or recommended for removal or decommissioning by a broad representation of interested persons and organizations in the local and/or regional community prior to the added or increased capacity? (b) If you answered “yes” to question 17(a), the Facility is not eligible for certification, unless you can show that the added or increased capacity resulted in specific measures to improve fish, wildlife, or water quality protection at the existing dam. If such measures were a result, please explain. | No – No resource agency or other organization has ever recommended removal or decommissioning of the existing Lock and Dam No. 2, which is owned by NYSCC. |
| 18) (a) If the increased or added generation is not yet operational, has the increased or added generation received regulatory authorization (e.g., approval by the Federal Energy Regulatory Commission)? If not, the facility is not eligible for consideration; and (b) Are there any pending appeals or litigation regarding that authorization? If so, the facility is not eligible for consideration. | N/A |

| A. Flows | PASS | FAIL | Applicant Answer |
| --- | --- | --- | --- |
| 1) Is the Facility in Compliance with Resource Agency Recommendations issued after December 31, 1986 regarding flow conditions for fish and wildlife protection, mitigation and enhancement (including in-stream flows, ramping and peaking rate conditions, and seasonal and episodic instream flow variations) for both the reach below the tailrace and all bypass reaches? | YES = Pass, Go to B N/A = Go to A2 | NO = Fail | Yes – The Oswego River Projects are in compliance with resource agency conditions issued after December 31, 1986 regarding flow conditions. The FERC licenses and license amendments, 2004 Offer of Settlement, and Section 401 Water Quality Certificates (WQC) include the requirements for flow releases and water level control recommended by the New York State Department of Environmental Conservation (NYSDEC) and U.S. Fish and Wildlife Service (USFWS). Each year Erie files documentation with FERC confirming compliance with flow and impoundment level conditions. A copy of this filing for 2006 is attached. For construction and maintenance activities that require lowering the level of an impoundment below the normal operating limits, Erie’s own operating procedure (HOP 202) requires notification of NYSDEC and compliance with drawdown rates specified in the 401 WQCs (1 ft/hr). A summary of flow conditions recommended by resource agencies through the FERC licenses and license amendments, 2004 Offer of Settlement, and 401 WQCs follows. Article 404 of the 1996 license order for the Oswego Falls Project required Erie to implement a downstream fish passage plan that included bypass flows from the Oswego Falls East and West developments. Sections 3.3 and 3.5 of the 2004 Offer of Settlement supersede Article 404 and require the flows described below. Oswego Falls Project Impoundment fluctuation limitations: 0.5 feet (year-round) from permanent crest of dam or top of pneumatic flashboard system Bypass flow: (year-round) 236 cfs or inflow, whichever is less—70 cfs released from the East Development and 166 cfs released from the No. 1 Tainter gate. Oswego River Project Impoundment fluctuation limitations: Fulton: 0.5 feet (year-round) from permanent crest of dam or top of flashboards when in place Minetto: 0.5 feet (year-round) from permanent crest of dam or top of flashboards when in place Varick: 1.0 feet (year-round) from permanent crest of dam or top of flashboards when in place Baseflow: 800 cfs or inflow, whichever is less during walleye spawning season and 300 cfs or inflow, whichever is less for the rest of the year. The baseflow for the Oswego River Project is maintained in the river immediately downstream of the Fulton development’s powerhouse (through generation or over the spillway). No baseflow is provided at the Minetto development due to the backwatering effect created by the dam at Lock No. 6. The base flow at the Varick development is provided for via the bypass flow. Bypass flows: Bypass flows at the Oswego River Project are provided according to the schedule below. Development Bypass flow Season Fulton 75 cfs year-round Varick 800 cfs or inflow, whichever is less walleye spawning 400 cfs or inflow, whichever is less end of walleye spawning through May 31 200 cfs or inflow, whichever is less June 1 through Sept. 15 400 cfs or inflow, whichever is less Sept. 16 through beginning of walleye spawning The license and WQC for the Granby Development were issued in 1980, and no resource agency recommendations have been issued since. Because the two developments are located at opposite ends of a single dam, Granby must operate in a manner consistent with the Fulton requirements for the purposes of impoundment fluctuation and flow available for generation. The bypass flows for the Fulton-Granby bypass reach required by the 2004 Offer of Settlement and license for the Oswego River Project were developed based on instream flow incremental methodology studies and are sufficient to water the upper bypass reach and increase the wetted area and habitat for aquatic organisms. Additional flow and water-level measures implemented at the Oswego River Projects include a low-level flow diversion structure along the portion of the western side of the bypass reach near the tailrace of the Varick powerhouse, which was installed in 2005 and required by Section 3.4 of the 2004 settlement agreement and License Article 406. Also, pursuant to License Article 403, Erie has installed a pneumatic flashboard system at the Oswego Falls Project to reduce seasonal water level fluctuation. |
| 2) If there is no flow condition recommended by any Resource Agency for the Facility, or if the recommendation was issued prior to January 1, 1987, is the Facility in Compliance with a flow release schedule, both below the tailrace and in all bypass reaches, that at a minimum meets Aquatic Base Flow standards or “good” habitat flow standards calculated using the Montana-Tennant method? | YES = Pass, go to B NO = Go to A3 |  | N/A. For the purpose of this section, it should be noted that the Granby license was issued in 1980 and had no flow condition recommendations by resource agencies. Because the Granby Development and the Fulton Development are located at opposite ends of the same dam and share a single bypass reach and downstream reach, by default the flow condition requirements set forth in the 2004 Offer of Settlement for the Fulton Development are directly related to the Granby Development. |
| 3) If the Facility is unable to meet the flow standards in A.2., has the Applicant demonstrated, and obtained a letter from the relevant Resource Agency confirming that demonstration, that the flow conditions at the Facility are appropriately protective of fish, wildlife, and water quality? | YES = Pass, go to B | NO = Fail | N/A |

| B. Water Quality | PASS | FAIL |  |
| --- | --- | --- | --- |
| 1) Is the Facility either: a) In Compliance with all conditions issued pursuant to a Clean Water Act Section 401 water quality certification issued for the Facility after December 31, 1986? Or b) In Compliance with the quantitative water quality standards established by the state that support designated uses pursuant to the federal Clean Water Act in the Facility area and in the downstream reach? | YES = Go to B2 | NO = Fail | Yes – (a) The Oswego River Projects are in compliance with all conditions of the Section 401 water quality certifications (WQCs) issued to the projects after December 31, 1986. The WQCs are attached. A WQC was not issued for the Oswego Falls Project with the 1996 FERC license, as FERC determined that water quality certification for the Oswego Falls Project had been waived. Erie did, however, apply for and obtain water quality certification from NYSDEC for the Oswego Falls Project as part of the 2006 license amendment process, and the WQC conditions are now part of the Oswego Falls Project License. The WQC for the Oswego River Project includes and incorporates the 2004 Offer of Settlement and is conditioned on compliance with the terms of the settlement. (b) The WQC for the Granby Project was issued with the FERC license in 1980. The Oswego River in the vicinity of the Granby Project is classified by NYSDEC as Class B (non-trout) waters, as described in #B2 below. According to NYSDEC’s regulations, the minimum daily average dissolved oxygen (DO) for Class B (non-trout) waters shall not be less than 5.0 mg/L, and at no time shall the DO concentration be less than 4.0 mg/L. The Granby WQC includes a requirement (modified in 1994) for dissolved oxygen monitoring and additional flow releases for DO mitigation, if needed. Erie takes DO readings at the Granby Development when daily average river flows are 1,500 cfs or less. If the DO threshold value (4.5 mg/L for inflows of 1,250 cfs to 1,500 cfs, 5.0 mg/L for inflows of 1,000 cfs to 1,250 cfs, and 5.5 mg/L for inflows less than 1,000 cfs), Erie releases 944 cfs (or inflow) at the confluence of the Fulton tailrace and Granby bypass reach. Erie files a report of DO readings and any mitigative releases annually with FERC and NYSDEC. The 2006 report is attached. |
| 2) Is the Facility area or the downstream reach currently identified by the state as not meeting water quality standards (including narrative and numeric criteria and designated uses) pursuant to Section 303(d) of the Clean Water Act? | YES = Go to B3 NO = Pass |  | Yes –A segment of the Oswego River in the vicinity of the Minetto Development is listed as impaired by fish consumption advisories on 2006 Section 303(d) list. The Oswego River in the project areas are classified by NYSDEC as non-trout Class B (From the Village of Phoenix to Lock 6) and C (from Lock 6 to the mouth of Lake Ontario) waters. For Class B waters, designated best usages are primary and secondary contact recreation and fishing; they are also suitable for fish propagation and survival. The best usage of Class C waters is fishing, and they are also suitable for fish propagation and survival, as well as primary and secondary contact recreation, where such use is not limited by other factors. The New York State Waterbody Inventory/Priority Waterbodies List, which characterizes water quality and the degree to which water uses are supported has not been updated since 1996 but is scheduled to be updated in 2007. The Oswego River is subject to water quality programs beyond those required by the Clean Water Act and NYSDEC. The Oswego River Harbor (from the mouth of Lake Ontario to just below Dam No. 7 – Varick) was designated as one of the original 43 Areas of Concern under Annex 2 of the 1987 U.S.-Canada Great Lakes Water Quality Agreement. A Remedial Action Plan (RAP), administered by the U.S. EPA and implemented by NYSDEC was developed for the Oswego River/Harbor in 1987. Through stages 1 and 2 of the RAP, beneficial use impairments, as well as their causes and sources, and remedial actions were identified. The fourteen beneficial use impairment indicators were developed by the International Joint Commission in Annex 2. In the 1990 RAP Stage 1 document, four of these indicators were identified as impaired, including two—degradation of fish and wildlife populations and loss of fish and wildlife habitat—that were attributable to hydroelectric project operations. The beneficial use indicators for the Oswego River/Harbor Area of Concern have been resolved, and the Area of Concern has been delisted. As described in the 2006 Stage 3 Delisting document prepared by NYSDEC in consultation with the Oswego River Remedial Advisory Committee, in addition to other water quality and monitoring programs and studies, the FERC license and settlement for the Oswego River Project have successfully restored river flow below Varick dam to address fish habitat and spawning conditions and are a key component of the delisting. |
| 3) If the answer to question B.2 is yes, has there been a determination that the Facility is not a cause of that violation? | YES = Pass | NO = Fail | Yes – With respect to the segment of the Oswego River in the vicinity of the Minetto Development that is listed on the 2006 Section 303(d) list, the cause of this impairment is PCB contamination and is not related to the Oswego River Projects. |

| C. Fish Passage and Protection | PASS | FAIL |  |
| --- | --- | --- | --- |
| 1) Is the Facility in Compliance with Mandatory Fish Passage Prescriptions for upstream and downstream passage of anadromous and catadromous fish issued by Resource Agencies after December 31, 1986? | YES = Go to C5 N/A = Go to C2 | NO = Fail | YES – Agency fish passage prescriptions for upstream and downstream passage of catadromous fish are described in Section 3.5 of the 2004 Offer of Settlement. Pursuant to the Offer of Settlement and Article 407 of the Oswego River Project license, Erie will be installing a seasonal upstream eel conveyance system at each of the four dams occupied by the Oswego River Projects. The schedule for eel conveyance system installation has been modified as a result of the capacity upgrade at the Oswego Falls West development, as required by the 2006 order amending the license for the Oswego Falls Project. An eel passage structure, which was designed in consultation with NYSDEC, USFWS, and NYSCC, is currently operational at the Varick Development, and similar ones will be installed at the dams associated with the Oswego Falls East-West, Fulton-Granby, and Minetto developments by December 31, 2008. The 1996 license order for the Oswego Falls Project did not include any Section 18 upstream passage requirements, though Article 406 did include provisions for development of an upstream passage plan to be implemented if and when upstream passage became a management objective. The 2004 Offer of Settlement supersedes and satisfies this requirement. Resource agency recommendations for general downstream fish passage are discussed below in #C5. |
| 2) Are there historic records of anadromous and/or catadromous fish movement through the Facility area, but anadromous and/or catadromous fish do not presently move through the Facility area (e.g., because passage is blocked at a downstream dam or the fish run is extinct)? a) If the fish are extinct or extirpated from the Facility area or downstream reach, has the Applicant demonstrated that the extinction or extirpation was not due in whole or part to the Facility? b) If a Resource Agency Recommended adoption of upstream and/or downstream fish passage measures at a specific future date, or when a triggering event occurs (such as completion of passage through a downstream obstruction or the completion of a specified process), has the Facility owner/operator made a legally enforceable commitment to provide such passage? | YES = Go to C2a NO = Go to C3 YES = Go to C2b N/A = Go to C2b YES = Go to C5 N/A = Go to C3 | NO = Fail NO = Fail | N/A |
| 3) If, since December 31, 1986: a) Resource Agencies have had the opportunity to issue, and considered issuing, a Mandatory Fish Passage Prescription for upstream and/or downstream passage of anadromous or catadromous fish (including delayed installation as described in C2a above), and b) The Resource Agencies declined to issue a Mandatory Fish Passage Prescription, c) Was a reason for the Resource Agencies’ declining to issue a Mandatory Fish Passage Prescription one of the following: (1) the technological infeasibility of passage, (2) the absence of habitat upstream of the Facility due at least in part to inundation by the Facility impoundment, or (3) the anadromous or catadromous fish are no longer present in the Facility area and/or downstream reach due in whole or part to the presence of the Facility? | NO = Go to C5 N/A = Go to C4 | YES = Fail | N/A |
| 4) If C3 was not applicable: a) Are upstream and downstream fish passage survival rates for anadromous and catadromous fish at the dam each documented at greater than 95% over 80% of the run using a generally accepted monitoring methodology? Or b) If the Facility is unable to meet the fish passage standards in 4.a., has the Applicant demonstrated, and obtained a letter from the US Fish and Wildlife Service or National Marine Fisheries Service confirming that demonstration, that the upstream and downstream fish passage measures (if any) at the Facility are appropriately protective of the fishery resource? | YES = Go to C5 | NO = Fail | N/A |
| 5) Is the Facility in Compliance with Mandatory Fish Passage Prescriptions for upstream and/or downstream passage of Riverine fish? | YES = Go to C6 N/A = Go to C6 | NO = Fail | Yes – Agency fish passage prescriptions for downstream passage of riverine fish are described in Section 3.5 of the 2004 Offer of Settlement. These measures are required by Article 407 of the Oswego River Project license. These requirements superseded the downstream passage prescriptions for the Oswego River Project previously filed by Department of Interior. Article 404 of the 1996 license order for the Oswego Falls Project required Erie to implement a downstream fish passage plan. Section 3.5 of the 2004 Offer of Settlement supersedes Article 404 and requires the measures described below. Downstream fish passage at the Oswego River Projects consists of “fish friendly” releases in the vicinity of the powerhouse intakes, as described below. These flows, as well as associated modifications such as plunge pools at the base of the sluiceways, have all been designed in consultation with NYSDEC and USFWS and are currently operational. Oswego Falls Project 70 cfs release from existing ice sluice gate adjacent to east side powerhouse and 166 cfs release through Tainter gate No.1. Oswego River Project Fulton Development 75 cfs release through new sluice gate/minimum flow piping adjacent to the powerhouse Minetto Development 25 cfs release through existing unused bay within the powerhouse Varick Development 200 cfs release through existing sluice gate adjacent to the trashracks There are no resource agency recommendations for riverine fish passage at the Granby Development. |
| 6) Is the Facility in Compliance with Resource Agency Recommendations for Riverine, anadromous and catadromous fish entrainment protection, such as tailrace barriers? | YES = Pass, go to D N/A = Pass, go to D | NO = Fail | Yes –Agency recommendations for fish entrainment protection at the Oswego River Projects, also described in Section 3.5 of the 2004 Offer of Settlement and Article 407 of the Oswego River Project license, include the provision of 1-inch trashracks at the Oswego Falls and Oswego River Project developments. According to the schedule in the 2004 Offer of Settlement, the new trashracks were installed at Oswego Falls in 2005, at Fulton in 2006, and are scheduled for installation at Minetto and Varick in 2008 and 2010, respectively. There are no resource agency recommendations for fish entrainment protection at the Granby Development. |
| D. Watershed Protection | PASS | FAIL |  |
| 1 ) Is there a buffer zone dedicated for conservation purposes (to protect fish and wildlife habitat, water quality, aesthetics and/or low-impact recreation) extending 200 feet from the high water mark in an average water year around 50 - 100% of the impoundment, and for all of the undeveloped shoreline | YES = Pass, go to E and receive 3 extra years of certification | NO = go to D2 | No – No specific provision in the 2004 Offer of Settlement or special FERC license articles designate a formal buffer zone around the projects’ impoundments, and all the project boundaries do not extend 200 feet above the high water mark around more than 50% of the impoundment shoreline. The Oswego River corridor is relatively heavily developed compared to the rest of the county, with industrial, as well as significant areas of compact, high-density residential land use along both banks of the river. Land use in the area largely reflects the region’s industrial history, as the Oswego River/Canal was originally used for commercial navigation. NYSCC currently operates the locks and dams to control summer lake levels for boating. Erie’s Oswego River Projects are located at existing NYSCC dams and occupy limited areas and civil works. The Oswego Falls East and West, Fulton, and Granby developments are all located in the city of Fulton. The area immediately surrounding the Oswego Falls Project consists of well-established commercial urban and light industrial development. Upstream of the project, the land becomes progressively more rural, until the village of Phoenix, which lies at the headwaters of the impoundment. The shoreline of the Fulton-Granby impoundment is small and heavily urbanized, with only sparse vegetation on the abutting shoreline. These two developments are bounded on the east by Lock 3 (where the city of Fulton’s marina is located) and a commercial section of downtown Fulton. The Minetto Development is located in the town of Minetto, between New York State Route 48 and Lock 5. Vacant and commercial structures are located between Route 48 and the river north and south of the Minetto Development. The upstream end of the Minetto impoundment extends into the city of Fulton. Between here and the Minetto dam, land uses near the shoreline include Battle Island State Park, rural and low-intensity residential areas, as well as industry and the Oswego County Resources Recovery Plant. The area surrounding the Varick Development is characterized by residential and commercial structures and Linear Park, which extends along the west bank, from the southernmost tip of the forebay island north towards downtown Oswego and Lake Ontario. |
| 2 ) Has the facility owner/operator established an approved watershed enhancement fund that: 1) could achieve within the project’s watershed the ecological and recreational equivalent of land protection in D.1.,and 2) has the agreement of appropriate stakeholders and state and federal resource agencies? | YES = Pass, go to E and receive 3 extra years of certification | NO = go to D3 | No |
| 3 ) Has the facility owner/operator established through a settlement agreement with appropriate stakeholders and that has state and federal resource agencies agreement an appropriate shoreland buffer or equivalent watershed land protection plan for conservation purposes (to protect fish and wildlife habitat, water quality, aesthetics and/or low impact recreation). | YES = Pass, go to E | NO = go to D4 | Yes – Through the FERC licenses and license article management plans, as well as the 2004 Offer of Settlement, Erie has effectively implemented land protection measures to protect fish and wildlife habitat, water quality, aesthetics, and low-impact recreation. Because the Oswego River Projects are modified run-of-river projects located at NYSCC facilities, Erie has limited control over the dams and impoundment shorelines. The “impoundments” are not large, flatwater areas and are instead characterized by open channel conditions. Erie has developed and implemented the license and settlement requirements in consultation with the NYSDEC, USFWS, and other stakeholders. These requirements protect and enhance shoreland conditions, as modifying and operating the projects has reduced impoundment fluctuation and bypass, minimum, and base flows enhance conditions for wildlife and recreational uses. Additionally, where facilities (i.e., parks and islands) exist for the protection of such uses, Erie has directly contributed to the development and maintenance of such areas. |
| 4 ) Is the facility in compliance with both state and federal resource agencies recommendations in a license approved shoreland management plan regarding protection, mitigation or enhancement of shorelands surrounding the project. | YES = Pass, go to E | No = Fail | N/A |

| E. Threatened and Endangered Species Protection | PASS | FAIL |  |
| --- | --- | --- | --- |
| 1) Are threatened or endangered species listed under state or federal Endangered Species Acts present in the Facility area and/or downstream reach? | YES = Go to E2 NO = Pass, go to F |  | Yes –As cited in FERC’s Environmental Assessments (EAs) for the Oswego Falls and Oswego River Projects, the USFWS had reported that except for transient individual, no known federally listed or proposed species were located in the vicinity of the Oswego River Projects. Also as stated in the 2001 EA for the Oswego River Project, lake sturgeon, listed as threatened by and in New York State, are found downstream of the Varick Dam. Erie requested updated information about the presence of threatened and endangered species in the vicinity of the Oswego River Projects from the NYSDEC New York Natural Heritage Program and USFWS in March 2007. In response to this information request, NYSDEC indicated that Indiana bat (federally- and state-listed as endangered) and lake sturgeon (state-listed as threatened) are known to occur in the vicinity of the projects. According to the USFWS New York Field Office website, the federally-listed endangered Indiana bat and piping plover and the threatened bog turtle are known to occur in Oswego County. (The website also lists the since-delisted bald eagle as occurring in Oswego County). The designated piping plover critical habitat in Oswego County is located along the Lake Ontario shoreline and only extends 500 m inland (the most downstream of the Oswego River Projects, Varick, is located 1.4 miles from the mouth of Lake Ontario). As this species prefers beach-areas and avoids developed areas, Erie does not believe piping plover are present in the vicinity of the Oswego River Projects. There are no specific requirements for endangered species protection in the FERC licenses or WQCs for the Oswego River Projects. |
| 2) If a recovery plan has been adopted for the threatened or endangered species pursuant to Section 4(f) of the Endangered Species Act or similar state provision, is the Facility in Compliance with all recommendations in the plan relevant to the Facility? | YES = Go to E3 N/A = Go to E3 | NO = Fail | Yes – NYSDEC has not adopted a formal recovery plan for the threatened lake sturgeon. As lake sturgeon have only been known to occur downstream of the Varick Dam, due to new flow release requirements, operations of the Oswego River Projects are not expected to have any effect on this species. The USFWS has adopted the following recovery plans for listed species that may be present in the vicinity of the Oswego River Projects: U.S. Fish and Wildlife Service. 2003. Recovery Plan for the Great Lakes Piping Plover (Charadrius melodus). Ft. Snelling, Minnesota. viii + 141 pp. U.S. Fish and Wildlife Service. 2007. Indiana Bat (Myotis sodalis) Draft Recovery Plan: First Revision. U.S. Fish and Wildlife Service, Fort Snelling, MN. 258 pp. U.S. Fish and Wildlife Service. 2001. Bog Turtle (Clemmys muhlenbergii), Northern Population, Recovery Plan. Hadley, Massachusetts. 103 pp. As explained above, piping plover is not likely present in the vicinity of the Oswego River Projects, and the associated recovery plan is not applicable to project operations. Recovery actions identified in USFWS’s Indiana Bat Draft Recovery Plan include hibernacula-related recovery actions and summer habitat management. No Indiana bat hibernacula, which typically include caves and mines, are known to exist in the immediate vicinity of the Oswego River Projects. Transient individuals may, however, be present, presumably in association with summer habitat. Indiana bats have been documented within 0.2 miles of the Oswego River Projects. Habitat guidance has not yet been drafted for the Northeast Recovery Unit identified in the draft Recovery Plan but will most likely involve protection of habitat areas, comprised of mature or dead trees, and limiting tree-clearing during the summer months. Operations of the Oswego River Projects at NYSCC’s dams are consistent with this draft recovery plan, as minimal vegetation removal and land management is associated with these projects. According to the 2001 bog turtle recovery plan, the extant population in Oswego County represents the northern range of this species. Bog turtles inhabit a variety of wetland types but generally prefer small, open-canopy, herbaceous sedge meadows and fens bordered by more thickly vegetated and wooded areas, and their primary habitat includes seepage or spring-fed emergent wetlands associated with streams, often at or near the headwaters of streams or small tributaries. Because the Oswego River Projects are located in relatively highly developed, open-river areas, bog turtles are not expected to be found in the immediate vicinity of the projects. As described in the recovery plan, conservation efforts focus on habitat protection, especially arresting succession of open wetlands to wooded swamp and control of invasive plants. Operations of the Oswego River Projects according to the conditions of the 2004 Offer of Settlement are consistent with this recovery plan, as the modified run-of-river operating mode improves habitat—including wetland—conditions within the project areas. |
| 3) If the Facility has received authority to incidentally take a listed species through: (i) Having a relevant agency complete consultation pursuant to ESA Section 7 resulting in a biological opinion, a habitat recovery plan, and/or (if needed) an incidental Take statement; (ii) Obtaining an incidental Take permit pursuant to ESA Section 10; or (iii) For species listed by a state and not by the federal government, obtaining authority pursuant to similar state procedures; is the Facility in Compliance with conditions pursuant to that authority? | YES = Go to E4 N/A = Go to E5 | NO = Fail | N/A |
| 4) If a biological opinion applicable to the Facility for the threatened or endangered species has been issued, can the Applicant demonstrate that: a) The biological opinion was accompanied by a FERC license or exemption or a habitat conservation plan? Or b) The biological opinion was issued pursuant to or consistent with a recovery plan for the endangered or threatened species? Or c) There is no recovery plan for the threatened or endangered species under active development by the relevant Resource Agency? Or d) The recovery plan under active development will have no material effect on the Facility’s operations? | YES = Pass, go to F | NO = Fail | N/A |
| 5) If E.2. and E.3. are not applicable, has the Applicant demonstrated that the Facility and Facility operations do not negatively affect listed species? | YES = Pass, go to F | NO = Fail | N/A |
| F. Cultural Resource Protection | PASS | FAIL |  |
| 1) If FERC-regulated, is the Facility in Compliance with all requirements regarding Cultural Resource protection, mitigation or enhancement included in the FERC license or exemption? | YES = Pass, go to G N/A = Go to F2 | NO = Fail | Yes - In 1996, Niagara Mohawk (Erie’s predecessor) developed and executed a programmatic agreement with the Federal Energy Regulatory Commission, Advisory Council on Historic Preservation, and the New York State Historic Preservation Officer for managing historic properties that may be affected by licenses issued for the continued operation of fourteen hydroelectric projects. Appendix A of the Oswego River Project Programmatic Agreement identifies historic properties affected by the Oswego River Project, including the dams and intake structures associated with the developments. The powerhouses were surveyed in the 1980s and 1990s and were determined not to meet the National Register of Historic Places criteria. License Article 410 of the Oswego River Projects required Erie to implement the Programmatic Agreement for the Oswego River Project, which required Erie to file a Cultural Resource Management Plan (CRMP) for FERC approval. Erie developed a CRMP in consultation with the SHPO and Onondaga Nation and filed the CRMP with FERC in March 2006. FERC issued an order on January 26, 2007 approving the CRMP; this order is attached. The order requires Erie to file a report of activities associated with the CRMP on February 1, 2008, and annually thereafter for the term of the license. There are no license requirements regarding cultural resource protection, mitigation, or enhancement for the Oswego Falls and Granby projects. As described in the 1996 EA and license order for the Oswego Falls Project, in 1991 the New York State Historic Preservation Office (SHPO) issued a determination that continued operation of the Oswego Falls Project would have no effect on properties listed in or eligible for the National Register of Historic Places. Niagara Mohawk, the previous licensee, consulted with the NY SHPO prior to redevelopment of the Granby Development. The SHPO issued a determination that the project would have no effect on properties listed in or eligible for the National Register of Historic Places. Article 30 of the Granby license required Niagara Mohawk to further consult with the SHPO regarding the need for any surveys or mitigative measures prior to commencement of construction activities, as well as during the course of construction if any unrecorded archaeological or historical sites were discovered. No properties have been identified in the Granby project area, and no construction activities are currently planned at this development. |
| 2) If not FERC-regulated, does the Facility owner/operator have in place (and is in Compliance with) a plan for the protection, mitigation or enhancement of impacts to Cultural Resources approved by the relevant state or federal agency or Native American Tribe, or a letter from a senior officer of the relevant agency or Tribe that no plan is needed because Cultural Resources are not negatively affected by the Facility? | YES = Pass, go to G | NO = Fail | N/A |
| G. Recreation | PASS | FAIL |  |
| 1) If FERC-regulated, is the Facility in Compliance with the recreational access, accommodation (including recreational flow releases) and facilities conditions in its FERC license or exemption? | YES = Go to G3 N/A = Go to G2 | NO = Fail | Yes - The facilities of the Oswego River Projects are in compliance with recreational access, accommodation, and facilities conditions in the FERC licenses. The Oswego River canal system receives intensive recreational boating use, and the locks and dams along the river are popular spots for shoreline fishing. NYSCC operates the Oswego River lock system seven days a week from 7 a.m. to 10 p.m. during peak navigation system (late May to early October) and reduced hours during the remainder of the season, and the locks provide boating access around the dams. The primary recreational activity within the Oswego River Projects’ boundaries is fishing at Erie facilities or the day-use-oriented recreational facilities managed by the state or local municipalities that are found along the stretch of the Oswego River spanned by the Oswego River Projects. Article 409 of the Oswego River Project license required Erie to file for FERC approval a recreation plan that includes a description of the existing recreation facilities at the Project, a schedule for the days and times the facilities are open and available for public use, and a description of Erie’s plans to allow public access to all lands within the project boundary where access is not precluded by other factors. Erie filed the Final Revised Recreation Management Plan in 2006, and FERC issued an order approving the plan (attached) in August 2006. Existing recreational facilities at the Fulton, Minetto, and Varick developments described in the plan include: fishing access to the Fulton-Granby impoundment and bypass reach area and the City of Fulton’s Towpath Trail, which includes the canal side park and a small marina adjacent to the upstream end of Lock 3; the existing Minetto Park boat launch facility and alternate canoe portage trail; and the City of Oswego’s West Side Linear Park and Linear Park Expansion Project at the Varick Development, which provides handicapped-accessible walkways and angler access. Erie constructed and maintains the alternate canoe portage trail along the western river edge at the Minetto Development, as required by Section 3.7 of the 2004 Offer of Settlement. For the Linear Park facility, Erie contributed to the construction costs for the angler walkway over the tailrace, walkway onto the forebay island, and stairs into the bypass reach, and Erie also provides an area for public parking and access to the park. Linear Park is a major seasonal fishing attraction and is used by thousands of anglers each year. Erie maintains a safety program involving a Fisherman Alarm System, as well as signs notifying anglers of the most potentially dangerous portions of the bypass reach and tailrace. The Oswego Falls Project license required construction and operation of a tailwater fishing access at the lower Lock 2 island below the Upper Fulton Dam (Article 408) and funding to the Village of Phoenix for a boat launch facility (Article 409). By order dated April 2, 2002 (attached), FERC deleted Article 408 and determined that the requirements of Article 408 had been met through informal facilities improved and maintained by NYSCC as part of its Lock 2 facilities. FERC confirmed by letter dated May 17, 2004 (attached) that the requirements of Article 409 had been met through Niagara Mohawk’s donation of $7,500 and 2.3 acres of Lock Island prior to license issuance. The Village of Phoenix boat launch facility has been completed and is operational. Public fishing and river viewing areas are also maintained at the Oswego Falls Project pursuant to License Article 410 (described in #G3, below). These areas include the handicapped-accessible upstream sides of the island on which the East Development powerhouse is located as well as the shoreline upstream of the forebay at the West Development. As confirmed by FERC in a letter dated June 24, 2003, there is little potential for recreational use at the Granby Development. Article 17 of the Granby license does, however, require Erie to install additional recreational facilities that may become desirable in the future. |
| 2) If not FERC-regulated, does the Facility provide recreational access, accommodation (including recreational flow releases) and facilities, as Recommended by Resource Agencies or other agencies responsible for recreation? | YES = Go to G3 | NO = Fail | N/A |
| 3) Does the Facility allow access to the reservoir and downstream reaches without fees or charges? | YES = Pass, go to H | NO = Fail | Yes - Erie permits free public access to the shorelines of the Oswego Falls East and West, Fulton, Granby, Minetto, and Varick developments across Erie’s land where project facilities, hazardous areas and existing leases, easements, and private ownership do not preclude access. As described above, Article 409 of the Oswego River Project license required Erie to include in the revised recreation plan a description of plans to allow public access to all lands within the project boundary, except for those lands and facilities specifically related to hydroelectric generation where public safety or site security would be a concern. Erie filed, and FERC approved, the Final Revised Recreation Management Plan in 2006, which included provisions for free public access. Article 410 of the Oswego Falls Project license required Erie to file a plan for FERC approval for allowing the public free access to project waters and lands. In 2002, FERC approved this plan, which describes the public access areas at the Oswego Falls East and West developments (described above in #G1) and determined that the requirements of Article 410 had been met. The order approving the Article 410 plan is attached. |
| H. Facilities Recommended for Removal | PASS | FAIL |  |
| 1) Is there a Resource Agency Recommendation for removal of the dam associated with the Facility? | NO = Pass, Facility is Low Impact | YES = Fail | No – No resource agency has recommended removal of any of the dams associated with the Oswego River Projects. |

Background Information Supporting Documentation:

Contacts/Key Settlement Parties (#11)

Project Contacts and Key Settlement Parties: Oswego River Projects

Stephen Patch

U.S. Fish and Wildlife Service

3817 Luker Road

Cortland, NY 13045

(607) 753-9334

Stephen_Patch@fws.gov

Dan Bishop

New York State Department of Environmental Conservation

1285 Fisher Avenue

Cortland, NY 13O45-I090

(607) 753-3095 x 203

dlbishop@gw.dec.state.ny.us

Howard Gobel

New York State Canal Corporation

200 Southern Blvd

P.O. Box 189

Albany, NY 12201-0189

(518) 471-5888

howard_goebel@canals.state.ny.us

Bruce Carpenter

New York Rivers United

P.O. Box 1460

370 Market Street in Griffis Technology Park

Rome, NY 13442-1460

(315) 339-2097

bruce_carpenter@newyorkriversunited.org

Background Information Supporting Documentation:

Project Descriptions (#12)

Oswego river projects

project descriptions

The Oswego River Projects consist of six developments (Oswego Falls East, Oswego Falls West, Granby, Fulton, Minetto, and Varick developments) comprising three FERC-licensed hydroelectric projects along the Oswego River in Oswego County, New York. The projects are all located at locks and dams owned by the New York State Thruway Authority Canal Corporation (NYSCC), operator of the State Barge Canal System.

The Oswego River is formed at the confluence of the Seneca and Oneida rivers and flows north approximately 23 river miles to Lake Ontario. The Oswego River first flows through the Lock 1 dam impoundment at the Phoenix Project (FERC No. 4113), which is owned by Algonquin Power. The water flow then enters the Oswego Falls impoundment formed by the Upper Fulton Dam (Lock 2, River Mile 12.6). The Oswego Falls East and Oswego Falls West developments (FERC No. 5984) are located immediately below this impoundment.

Once past the Oswego Falls Project, water flow enters the Fulton-Granby impoundment. The Granby Project (FERC No. 2837) and Fulton development (part of FERC No. 2474) are located at opposite sides of Lower Fulton dam (Lock 3), approximately one mile below Upper Fulton dam. The Oswego River next enters the impoundment formed by the Minetto dam. The Minetto development (FERC No. 2474) is located near Lock 5, approximately 6.4 miles downstream of Fulton and Granby. Next water flow enters the impoundment at Lock 6 and the High Dam Project (FERC No. 10551), which is owned by the city of Oswego, with Erie providing operation and maintenance support for the plant. Finally, once past the High Dam Project, water flow enters the Varick impoundment. The Varick development (FERC No. 2474) is located near Lock 7, 1.4 miles above the mouth of Lake Ontario.

- Oswego Falls Project

The dam and forebay gate structures at the Upper Fulton dam are owned by NYSCC. The dam has a weir section and a spillway section for overflow, and the crest is equipped with a 1.5-foot-high pneumatic flashboard system installed and maintained by Erie. To the west of the weir section, there are six Tainter gates, which are owned by NYSCC. The Oswego Falls West Development is located on the left bank (looking downstream), and the Oswego Falls East Development is located on the opposite (right) bank. In accordance with the 2004 Offer of Settlement and 2006 FERC order amending the license for the Oswego Falls Project, a seasonal (June 15 to September 15) upstream eel conveyance system will be installed at the Oswego Falls Project by the end of 2008.

The existing licensed operational mode for the Oswego Falls Project is modified run-of-river operation, which allows for a 0.5-foot impoundment fluctuation. The Project generates with inflows between 652 cfs and 7,158 cfs, and flows outside of this range are spilled at the dam. The licensed bypass flow for the Oswego Falls Project is 236 cfs or inflow, whichever is less. Of this total bypass flow, 70 cfs is released at the East Development, and 166 is released through the No. 1 Tainter gate.

Oswego Falls East Development

The eastern forebay that leads to the intake for the Oswego Falls East Development is located near Lock 2.  Licensed project works at the Oswego Falls East  Development include the forebay, which is equipped with a trash sluice and electric-operated gate; intake structure with 1-inch trashracks; a concrete and brick powerhouse; three vertical Francis-type turbine-generator units; a tailrace channel separated from the river by a concrete gravity section and earth embankment at the lock by a masonry and concrete retaining wall; and 2.4-kV primary transmission lines and appurtenant facilities and the 2.4-kV station tie to the West Development. The three turbine-generator units each have an installed capacity of 1.5 MW and have a combined hydraulic capacity of 4,230 cfs. Minimum flows at the Oswego Falls East Development are provided through the existing trash sluice gate.

Oswego Falls West Development

Licensed project works at the Oswego Falls West Development include NYSCC’s forebay gate structure between the Tainter gates and western shore of the river that conveys water to the forebay of the powerhouse and currently acts as the 1-inch trashrack structure; forebay; intake headgates and ice and trash sluices; a concrete and brick powerhouse; a tailrace channel separated from the river by a concrete gravity section and from the river bank by a concrete retaining wall; and the 2.4-kV primary transmission lines and appurtenant facilities. As approved in FERC’s September 7, 2006 order amending the license for the Oswego Falls Project, Erie recently performed a maintenance upgrade to replace Unit 3 at the Oswego Falls Development. The Oswego Falls Development now includes four quadruplex-type turbine-generator units (Units 1, 2, 4, and 5) and two vertical propeller turbine units (Units 6 and 7). Units 1 and 2 are inoperable, and Units 4 and 5 have an installed capacity of 0.93 MW each and have a combined hydraulic capacity of 1,860 cfs. Units 6 and 7 each have an installed generating capacity of 0.50 MW and have a combined hydraulic capacity of 832 cfs. The minimum flow at the Oswego Falls West Development is provided through Tainter gate 1, which is adjacent to the pneumatic flashboard section of the dam.

Figure 1. Downstream view of the Oswego Falls East (right) and Oswego Falls West (left) developments at Upper Fulton Dam/Lock 2.

B.  Fulton and Granby Developments

The Lower Fulton dam is a 509-foot-long and 15-foot-high concrete buttress dam topped with 6-inch flashboards. The Fulton Development is located on the right bank (looking downstream) adjacent to Lock 3, and the Granby Development is located at the left end of the dam. The Fulton-Granby impoundment has a surface area of 33 acres with a normal pool elevation of 334.5 ft msl. The bypass reach formed by the Fulton Development is 1,850 ft long.

Inflow to the reservoir is essentially the same as discharge from the Oswego Falls Project, which has a combined hydraulic capacity of 6,922 cfs. The Fulton Development operates in conjunction with the Granby Project. As described in the 2004 Offer of Settlement, the Fulton Development operates in a modified run-of-river mode, which allows for a 0.5-foot impoundment fluctuation. Because Granby shares the dam with Fulton, by default Granby operates in this same modified run-of-river mode. The Granby powerhouse is shut down whenever river flow is less than 2,500 cfs (the minimum turbine setting of one Granby unit). At flows less than 2,500 cfs, the Fulton powerhouse uses the river flow up to 1,165 cfs, the maximum hydraulic capacity of the Fulton Development. When available flow exceeds 2,500 cfs, the Granby powerhouse is activated and flows up to 6,000 cfs are diverted through the turbines. Due to the narrow operating limits of the Granby units (2,500 cfs to 3,000 cfs each), all water within the 2,500 cfs to 6,000 cfs range cannot be utilized by the Granby Project; that is, at flows less than 5,000 cfs only one unit can operate, and the remaining flow would be diverted to the Fulton Development.

The licensed baseflow requirement for the Fulton Development is 300 cfs or inflow, whichever is less, and 800 cfs or inflow during walleye spawning season. The provision of this baseflow, in combination with the 75-cfs minimum flow released from the sluice gate adjacent to the Fulton powerhouse, allows the upper bypass reach formed by the Fulton-Granby developments to be backwatered by discharge from the Fulton turbines.

Fulton Development

Licensed project works at the Fulton Development include a concrete intake structure equipped with three steel gates; a 10-foot-long and 40-foot-wide forebay; 1-inch trashracks; concrete and brick powerhouse with two turbine-generator units; a switchgear building; and appurtenant facilities. The Fulton powerhouse contains two vertical fixed-propeller turbine-generator units with generating capacities of 0.8 MW and 0.45 MW and a combined hydraulic capacity of 1,165 cfs. In accordance with the 2004 Offer of Settlement and provisions of the 2006 FERC order amending the license for the Oswego Falls Project, a seasonal upstream eel conveyance system will be installed at the Fulton Development by the end of 2008.

Granby Development

Licensed project works at the Granby Development include an intake structure with trashracks, concrete and steel-frame powerhouse containing two generating units each rated at 5.04 MW; the generator leads, substation, switchyard, and transmission line; 3,000-foot-long tailrace; and appurtenant facilities.

.

- Minetto Development

The Minetto dam is a 500-foot-long, 22.5-foot-high concrete gravity dam topped with 10-inch flashboards. The Minetto impoundment has a surface area of 350 acres with a normal pool elevation of 307.8 ft msl. Licensed project works at the Minetto Development include a concrete intake structure equipped with nine steel gates; a 100-foot-long, 200-foot-wide forebay; trashracks; a concrete and brick powerhouse containing five vertical Francis turbine-generator units with a combined installed capacity of 8.0 MW and combined hydraulic capacity of 7,500 cfs; and appurtenant facilities. In accordance with the 2004 Offer of Settlement, a seasonal upstream eel conveyance system will be installed at the Minetto Development by the end of 2008.

The existing licensed operational mode for the Minetto Development is modified run-of-river operation, which allows for a 0.5-foot impoundment fluctuation. There are no licensed bypass or base flow requirements for the Minetto Development, but the license does include a requirement for a 25-cfs downstream fish passage flow, which is released through an unused bay within the powerhouse.

Figure 3. The Minetto Development at Minetto Dam/Lock 5.

- Varick Development

The Varick dam is the last dam on the Oswego River before the river’s confluence with Lake Ontario. The Varick Development is located within the city of Oswego, so the lands around the project are relatively heavily developed. The 730-foot-long and 13-foot-high masonry gravity dam contains curved, straight, and gated sections and is topped with a series of stepped flashboards ranging in height from 10 inches to 36 inches. The Varick impoundment has a surface area of 32 acres at normal pool elevation 270.0 ft (msl), and the bypass reach is approximately 1,940 ft long. Licensed project works include an intake structure with 24 steel gates; a 950-foot-long, 150-foot-wide forebay; trashrack structure; ice sluice; concreted and brick powerhouse containing four generating units; and appurtenant facilities. The turbine-generator units at Varick are fixed-blade propeller turbines and have a combined installed capacity of 8.8 MW and a combined hydraulic capacity of 5,600 cfs. In accordance with the 2004 Offer of Settlement, a seasonal upstream eel conveyance system has been installed at the Varick Development and began operating for its first season on May 30, 2007.

The existing licensed operational mode for the Varick Development is modified run-of-river operation, which allows for an impoundment fluctuation of 1 foot from the permanent crest of the dam or top of flashboards, when in place. Licensed flow requirements include a 200 cfs downstream fish flow released adjacent to the trashracks and an additional bypass flow that varies by season, ranging from 200 cfs to 800 cfs, through an existing sluice gate adjacent to the NYSCC head gate. As required by License Article 406, Erie installed a low-level diversion structure along the western side of the Varick bypass reach, near the tailrace of the powerhouse, which allows the majority of the upper bypass reach flow to be diverted to the lower bypass reach during low flow conditions.

Background Information Supporting Documentation:

Project Location Map (#12)

Background Information Supporting Documentation:

Project Drawings and Boundaries (#12)

Flows Supporting Documentation:

Minimum Flow and Impoundment Fluctuation Compliance (#A1)

Water Quality Supporting Documentation:

Section 401 Water Quality Certificates (#B1a)

Water Quality Supporting Documentation:

Granby DO Monitoring (#B1b)

Water Quality Supporting Documentation:

New York State Water Quality Section 303(d) Report (2006) (#B2)

Water Quality Supporting Documentation:

2006 Oswego River/Harbor Area of Concern Delisting (#B2)

Threatened and Endangered Species Protection

Supporting Documentation (#E1)

Cultural Resources Supporting Documentation (#F1)

Recreation Supporting Documentation (#G1)

# Footnotes

11 FERC ¶62,011

74 FERC ¶62 ,138

In 1999, FERC approved the transfer of the Oswego Falls, Oswego River, and Granby licenses from Niagara Mohawk to Erie Boulevard Hydropower, L.P. (88 FERC ¶62,082)

109 FERC ¶62,141

116 FERC ¶62,191

# Text boxes

Erie boulevard hydropower, L.P.

OSWEGO River Projects:

Oswego Falls Project (FERC No. 5984)

Granby Project (FERC No. 2837)

Oswego River Project (FERC No. 2474)

application before the low impact hydropower institute for certification of the OSWEGO river projects as

a low impact facility

NOVEMBER 2007

Figure 2. Upstream view of the Fulton (left) and Granby (right) developments at Lower Fulton Dam/Lock 3.

Figure 4. The Varick Developments at Varick Dam/Lock 7.