149 FERC ¶ 62,003

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

| Monroe Hydro, LLC | Project No. | 14430-003 |
| --- | --- | --- |

ORDER AMENDING EXEMPTION FROM LICENSING (CONDUIT) AND UPDATING PROJECT DESCRIPTION

(Issued October 02, 2014)

1.	On August 28, 2014, Monroe Hydro, LLC (exemptee) filed a request to amend their exemption from Licensing (Conduit) for the Monroe Drop Hydroelectric Project No. 14430.

2.	The exemptee requests an amendment of the project description to reflect the actual dimensions of the project’s intake and outlets structures.  The intake would change from a 16.19-foot-long, 12-inch-diameter pipe to a 48-foot-long, 7-foot-diameter pipe.  The outlet would change from a 9.42-foot-long, 12-inch-diameter pipe to a 25-foot-long rectangular section draft tube of varying dimensions.

3.	The amendment is necessary due to the lack of clarity in the original application’s project description, which resulted in misstating the intake and outtake in the order issuing exemption.  The exemptee provided accurate intake and outlet dimensions for the project.  Therefore, based on our review, the exemption should be amended to reflect the accurate project dimensions.

The Director orders:

(A) Ordering paragraph (B)(2) is amended to read as follows:

(2) The following project works:

The proposed Monroe Drop Hydroelectric Project would consist of: (1) a proposed approximately 48-foot-long, 7-foot-diameter intake pipe; (2) a proposed powerhouse containing one proposed generating unit with an installed capacity of 300 kW; (3) a proposed approximately 25-foot-long rectangular section draft tube of varying dimensions; and (4) appurtenant facilities.  The applicant estimates the project would have an average annual generation of 1.004 gigawatt-hours.

(B) This order is issued under authority delegated to the Director and constitutes final agency action.  Any party may file a request for rehearing of this order within 30 days from the date of its issuance, as provided in section 313(a) of the Federal Power Act, 16 U.S.C. § 825 (2012), and section 385.713 of the Commission’s regulations, 18 C.F.R. § 385.713 (2014).  The filing of a request for rehearing does not operate as a stay of the effective date of this exemption or any of its requirements.  The exemptee’s failure to file a request for rehearing shall constitute acceptance of this order.

Kelly Houff

Chief, Engineering Resources Branch

Division of Hydropower Administration

and Compliance

# Footnotes

Monroe Hydro, LLC, 148 FERC ¶ 62,098 (2014).